User Report 2

Model File: MESA PANEL SOLAR, Revision 0

23/08/2024

| Table of Contents |  |
| --- | --- |
| 1. Structure Data | 4 |
| 1.1 Story Data | 4 |
| 1.2 Grid Data | 4 |
| 1.3 Point Coordinates | 4 |
| 1.4 Line Connectivity | 4 |
| 1.5 Area Connectivity | 5 |
| 1.6 Mass | 5 |
| 2. Properties | 6 |
| 2.1 Materials | 6 |
| 2.2 Frame Sections | 6 |
| 2.3 Shell Sections | 6 |
| 2.4 Reinforcement Sizes | 6 |
| 3. Assignments | 8 |
| 3.1 Joint Assignments | 8 |
| 3.2 Frame Assignments | 8 |
| 3.3 Shell Assignments | 8 |
| 4. Loads | 9 |
| 4.1 Load Patterns | 9 |
| 4.2 Applied Loads | 9 |
| 4.2.1 Area Loads | 9 |
| 4.3 Functions | 9 |
| 4.3.1 Response Spectrum Functions | 9 |
| 4.4 Load Cases | 10 |
| 4.5 Load Combinations | 10 |
| 5. Analysis Results | 15 |
| 5.1 Structure Results | 15 |
| 5.2 Story Results | 16 |
| 5.3 Point Results | 28 |
| 5.4 Area Results | 34 |
| 5.5 Modal Results | 47 |

| List of Tables |  |
| --- | --- |
| Table 1.1 Story Definitions | 4 |
| Table 1.2 Grid Definitions - General | 4 |
| Table 1.3 Grid Definitions - Grid Lines | 4 |
| Table 1.4 Point Bays | 4 |
| Table 1.5 Column Bays | 4 |
| Table 1.6 Beam Bays | 4 |
| Table 1.7 Floor Bays | 5 |
| Table 1.8 Mass Source Definition | 5 |
| Table 1.9 Mass Summary by Story | 5 |
| Table 1.10 Mass Summary by Group | 5 |
| Table 2.1 Material Properties - General | 6 |
| Table 2.2 Frame Section Property Definitions - Summary | 6 |
| Table 2.3 Area Section Property Definitions - Summary | 6 |
| Table 2.4 Reinforcing Bar Sizes | 6 |
| Table 3.1 Joint Assignments - Summary | 8 |
| Table 3.2 Frame Assignments - Summary | 8 |
| Table 3.3 Area Assignments - Summary | 8 |
| Table 4.1 Load Pattern Definitions | 9 |
| Table 4.2 Area Load Assignments - Uniform | 9 |
| Table 4.3 Functions - Response Spectrum - Columbia NSR-10 | 9 |
| Table 4.4 Load Case Definitions - Summary | 10 |
| Table 4.5 Load Combination Definitions | 10 |
| Table 5.1 Base Reactions | 15 |
| Table 5.2 Story Drifts | 16 |
| Table 5.3 Story Forces | 21 |
| Table 5.4 Joint Reactions | 28 |
| Table 5.5 Element Joint Forces - Shells | 34 |
| Table 5.6 Modal Periods And Frequencies | 47 |
| Table 5.7 Modal Participating Mass Ratios | 47 |
| Table 5.8 Modal Load Participation Ratios | 48 |
| Table 5.9 Modal Direction Factors | 48 |

# 1 Structure Data

This chapter provides model geometry information, including items such as story levels, point coordinates, and element connectivity.

## 1.1 Story Data

Table 1.1 - Story Definitions

| Tower | Name | Height m | Master Story | Similar To | Splice Story | Color |
| --- | --- | --- | --- | --- | --- | --- |
| T1 | N. +1.26 | 0,36 | Yes | None | No | Red |
| T1 | N. + 0.9 | 0,9 | Yes | None | No | Red |

## 1.2 Grid Data

Table 1.2 - Grid Definitions - General

| Tower | Name | Type | Ux m | Uy m | Rz deg | Story Range | Bubble Size m | Color |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| T1 | G1 | Cartesian | 0 | 0 | 0 | Default | 1,25 | Gray6 |

Table 1.3 - Grid Definitions - Grid Lines

| Name | Grid Line Type | ID | Ordinate m | Bubble Location | Visible |
| --- | --- | --- | --- | --- | --- |
| G1 | X (Cartesian) | A | 0 | End | Yes |
| G1 | X (Cartesian) | B | 2,38 | End | Yes |
| G1 | Y (Cartesian) | 1 | 0 | Start | Yes |
| G1 | Y (Cartesian) | 2 | 2,6 | Start | Yes |

## 1.3 Point Coordinates

Table 1.4 - Point Bays

| Label | Is Auto Point | X m | Y m | DZBelow m |
| --- | --- | --- | --- | --- |
| 1 | No | 0 | 2,6 | 0 |
| 3 | No | 0 | 0 | 0 |
| 5 | No | 2,38 | 0 | 0 |
| 6 | No | 2,38 | 2,6 | 0 |

## 1.4 Line Connectivity

Table 1.5 - Column Bays

| Label | PointBayI | PointBayJ | IEndStory |
| --- | --- | --- | --- |
| C1 | 1 | 1 | Same |
| C3 | 3 | 3 | Below |
| C5 | 6 | 6 | Same |
| C6 | 5 | 5 | Below |

Table 1.6 - Beam Bays

| Label | PointBayI | PointBayJ |
| --- | --- | --- |
| B2 | 3 | 5 |
| B4 | 5 | 6 |
| B5 | 3 | 1 |
| B7 | 1 | 6 |

## 1.5 Area Connectivity

Table 1.7 - Floor Bays

| Label | NumPoints | PointNumber | PointBay |
| --- | --- | --- | --- |
| F3 | 4 | 1 | 6 |
| F3 |  | 2 | 1 |
| F3 |  | 3 | 3 |
| F3 |  | 4 | 5 |

## 1.6 Mass

Table 1.8 - Mass Source Definition

| Name | Is Default | Include Lateral Mass? | Include Vertical Mass? | Lump Mass? | Source Self Mass? | Source Added Mass? | Source Load Patterns? | Move Mass Centroid? | Load Pattern | Multiplier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MsSrc1 | Yes | Yes | No | Yes | No | No | Yes | No | Dead | 1 |

Table 1.9 - Mass Summary by Story

| Story | UX tonf-s2/m | UY tonf-s2/m | UZ tonf-s2/m |
| --- | --- | --- | --- |
| N. +1.26 | 0,00801 | 0,00801 | 0 |
| N. + 0.9 | 0,00775 | 0,00775 | 0 |
| Base | 0,0016 | 0,0016 | 0 |

Table 1.10 - Mass Summary by Group

| Group | Self Mass tonf-s2/m | Self Weight tonf | Mass X tonf-s2/m | Mass Y tonf-s2/m | Mass Z tonf-s2/m |
| --- | --- | --- | --- | --- | --- |
| All | 0 | 0,10193 | 0,01736 | 0,01736 | 0 |

# 2 Properties

This chapter provides property information for materials, frame sections, shell sections, and links.

## 2.1 Materials

Table 2.1 - Material Properties - General

| Material | Type | SymType | Grade | Color | Notes |
| --- | --- | --- | --- | --- | --- |
| A416Gr270 | Tendon | Uniaxial | Grade 270 | Gray8Dark |  |
| A615Gr60 | Rebar | Uniaxial | Grade 60 | Yellow |  |
| Mat sin peso | Concrete | Isotropic | f'c 4000 psi | Red |  |
| STEEL | Steel | Isotropic | Grade 50 | Green |  |

## 2.2 Frame Sections

Table 2.2 - Frame Section Property Definitions - Summary (Part 1 of 4)

| Name | Material | Shape | Color | Area m2 | J m4 | I33 m4 | I22 m4 | I23 m4 | IMajor m4 | IMinor m4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Angulo 3x3x1/4 | STEEL | Steel Angle | Red | 0,0009 | 1,228E-08 | 1E-06 | 1E-06 | 3,079E-07 | 1E-06 | 2,1E-07 |

Table 2.2 - Frame Section Property Definitions - Summary (Part 2 of 4)

| Name | MajorAngle deg | As2 m2 | As3 m2 | S33Pos m3 | S33Neg m3 | S22Pos m3 | S22Neg m3 | Z33 m3 | Z22 m3 | R33 m | R22 m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Angulo 3x3x1/4 | -45 | 0,0004 | 0,0004 | 9E-06 | 2,4E-05 | 2,4E-05 | 9E-06 | 1,7E-05 | 1,7E-05 | 0,02363 | 0,02363 |

Table 2.2 - Frame Section Property Definitions - Summary (Part 3 of 4)

| Name | Cw m6 | Fillet Radius m | CG Offset 3 m | CG Offset 2 m | PNA Offset 3 m | PNA Offset 2 m | SC Offset 3 m | SC Offset 2 m | Area Modifier | As2 Modifier | As3 Modifier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Angulo 3x3x1/4 | 5,539E-12 |  | 0,0167 | -0,0167 | 0,03201 | -0,03201 | 0,03465 | -0,03465 | 1 | 1 | 1 |

Table 2.2 - Frame Section Property Definitions - Summary (Part 4 of 4)

| Name | J Modifier | I33 Modifier | I22 Modifier | Mass Modifier | Weight Modifier |
| --- | --- | --- | --- | --- | --- |
| Angulo 3x3x1/4 | 1 | 1 | 1 | 1 | 1 |

## 2.3 Shell Sections

Table 2.3 - Area Section Property Definitions - Summary

| Name | Type | Element Type | Material | Total Thickness m | Deck Material | Deck Depth m |
| --- | --- | --- | --- | --- | --- | --- |
| Soporte | Slab | Membrane | Mat sin peso | 0,01 |  |  |

## 2.4 Reinforcement Sizes

Table 2.4 - Reinforcing Bar Sizes

| Name | Diameter m | Area m2 |
| --- | --- | --- |
| 10 | 0,01 | 0,0001 |
| 18 | 0,018 | 0,0003 |
| 20 | 0,02 | 0,0003 |

# 3 Assignments

This chapter provides a listing of the assignments applied to the model.

## 3.1 Joint Assignments

Table 3.1 - Joint Assignments - Summary

| Story | Label | UniqueName | Diaphragm | Restraints |
| --- | --- | --- | --- | --- |
| N. +1.26 | 1 | 1 | From Area |  |
| N. +1.26 | 6 | 4 | From Area |  |
| N. + 0.9 | 3 | 2 | From Area |  |
| N. + 0.9 | 5 | 3 | From Area |  |
| Base | 1 | 5 | From Area | UX; UY; UZ; RX; RY; RZ |
| Base | 3 | 7 | From Area | UX; UY; UZ; RX; RY; RZ |
| Base | 5 | 8 | From Area | UX; UY; UZ; RX; RY; RZ |
| Base | 6 | 6 | From Area | UX; UY; UZ; RX; RY; RZ |

## 3.2 Frame Assignments

Table 3.2 - Frame Assignments - Summary

| Story | Label | UniqueName | Design Type | Length m | Analysis Section | Design Section | Max Station Spacing m | Min Number Stations |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N. +1.26 | B5 | 1 | Beam | 2,6248 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |
| N. +1.26 | B4 | 3 | Beam | 2,6248 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |
| N. +1.26 | B7 | 2 | Beam | 2,38 | Angulo 3x3x1/4 | Angulo 3x3x1/4 | 0,5 |  |
| N. +1.26 | C1 | 5 | Column | 1,26 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |
| N. +1.26 | C5 | 6 | Column | 1,26 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |
| N. + 0.9 | B2 | 4 | Beam | 2,38 | Angulo 3x3x1/4 | Angulo 3x3x1/4 | 0,5 |  |
| N. + 0.9 | C3 | 7 | Column | 0,9 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |
| N. + 0.9 | C6 | 8 | Column | 0,9 | Angulo 3x3x1/4 | Angulo 3x3x1/4 |  | 3 |

## 3.3 Shell Assignments

Table 3.3 - Area Assignments - Summary

| Story | Label | UniqueName | Section Property | Property Type |
| --- | --- | --- | --- | --- |
| N. +1.26 | F3 | 1 | Soporte | Slab |

# 4 Loads

This chapter provides loading information as applied to the model.

## 4.1 Load Patterns

Table 4.1 - Load Pattern Definitions

| Name | Is Auto Load | Type | Self Weight Multiplier | Auto Load |
| --- | --- | --- | --- | --- |
| ~LLRF | Yes | Other | 0 |  |
| Dead | No | Dead | 1 |  |
| F | No | Other | 0 |  |
| G | No | Snow | 0 |  |
| H | No | Other | 0 |  |
| Live | No | Live | 0 |  |
| Lr | No | Live | 0 |  |
| T | No | Other | 0 |  |
| W | No | Wind | 0 | None |

## 4.2 Applied Loads

### 4.2.1 Area Loads

Table 4.2 - Area Load Assignments - Uniform

| Story | Label | UniqueName | Load Pattern | Direction | Load tonf/m2 |
| --- | --- | --- | --- | --- | --- |
| N. +1.26 | F3 | 1 | Dead | Gravity | 0,011 |
| N. +1.26 | F3 | 1 | Live | Gravity | 0,18 |

## 4.3 Functions

### 4.3.1 Response Spectrum Functions

Table 4.3 - Functions - Response Spectrum - Columbia NSR-10

| Name | Period sec | Value | Aa | Av | Ae | Ad | Group of Use | Fa | Fv | Damping Ratio |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NSR-10 | 0 | 1,51875 | 0,45 | 0,4 | 0,24 | 0,1 | 4 | 0,9 | 2,4 | 0,15 |
| NSR-10 | 0,1 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,2 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,3 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,4 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,5 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,6 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,7 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,8 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 0,9 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 1 | 1,51875 |  |  |  |  |  |  |  |  |
| NSR-10 | 1,2 | 1,44 |  |  |  |  |  |  |  |  |
| NSR-10 | 1,5 | 1,152 |  |  |  |  |  |  |  |  |
| NSR-10 | 1,7 | 1,016471 |  |  |  |  |  |  |  |  |
| NSR-10 | 2 | 0,864 |  |  |  |  |  |  |  |  |
| NSR-10 | 2,5 | 0,6912 |  |  |  |  |  |  |  |  |
| NSR-10 | 3 | 0,576 |  |  |  |  |  |  |  |  |
| NSR-10 | 3,5 | 0,493714 |  |  |  |  |  |  |  |  |
| NSR-10 | 4 | 0,432 |  |  |  |  |  |  |  |  |
| NSR-10 | 5 | 0,3456 |  |  |  |  |  |  |  |  |
| NSR-10 | 8 | 0,15552 |  |  |  |  |  |  |  |  |
| NSR-10 | 11 | 0,082259 |  |  |  |  |  |  |  |  |
| NSR-10 | 15 | 0,044237 |  |  |  |  |  |  |  |  |

## 4.4 Load Cases

Table 4.4 - Load Case Definitions - Summary

| Name | Type |
| --- | --- |
| Dead | Linear Static |
| Live | Linear Static |
| G | Linear Static |
| H | Linear Static |
| EX | Response Spectrum |
| EY | Response Spectrum |
| Lr | Linear Static |
| F | Linear Static |
| T | Linear Static |
| W | Linear Static |
| TorsionEX | Linear Static |
| Modal | Modal - Eigen |
| TorsionEY | Linear Static |

## 4.5 Load Combinations

Table 4.5 - Load Combination Definitions

| Name | Type | Is Auto | Load Name | SF | Notes |
| --- | --- | --- | --- | --- | --- |
| B.2.3-1 | Linear Add | No | Dead | 1 |  |
| B.2.3-2 | Linear Add | No | Dead | 1 |  |
| B.2.3-2 |  |  | H | 1 |  |
| B.2.3-2 |  |  | Live | 1 |  |
| B.2.3-2 |  |  | F | 1 |  |
| B.2.3-2 |  |  | T | 1 |  |
| B.2.3-3 | Linear Add | No | Dead | 1 |  |
| B.2.3-3 |  |  | H | 1 |  |
| B.2.3-3 |  |  | G | 1 |  |
| B.2.3-3 |  |  | F | 1 |  |
| B.2.3-4 | Linear Add | No | Dead | 1 |  |
| B.2.3-4 |  |  | H | 1 |  |
| B.2.3-4 |  |  | Live | 0,75 |  |
| B.2.3-4 |  |  | G | 0,75 |  |
| B.2.3-4 |  |  | F | 1 |  |
| B.2.3-5 | Linear Add | No | Dead | 1 |  |
| B.2.3-5 |  |  | H | 1 |  |
| B.2.3-5 |  |  | F | 1 |  |
| B.2.3-5 |  |  | W | 1 |  |
| B.2.3-6-1 | Linear Add | No | Dead | 1 |  |
| B.2.3-6-1 |  |  | EX | 1 |  |
| B.2.3-6-1 |  |  | H | 1 |  |
| B.2.3-6-1 |  |  | EY | 0,3 |  |
| B.2.3-6-1 |  |  | F | 1 |  |
| B.2.3-6-2 | Linear Add | No | Dead | 1 |  |
| B.2.3-6-2 |  |  | EX | 1 |  |
| B.2.3-6-2 |  |  | H | 1 |  |
| B.2.3-6-2 |  |  | EY | -0,3 |  |
| B.2.3-6-2 |  |  | F | 1 |  |
| B.2.3-6-3 | Linear Add | No | Dead | 1 |  |
| B.2.3-6-3 |  |  | EX | 0,3 |  |
| B.2.3-6-3 |  |  | H | 1 |  |
| B.2.3-6-3 |  |  | EY | 1 |  |
| B.2.3-6-3 |  |  | F | 1 |  |
| B.2.3-6-4 | Linear Add | No | Dead | 1 |  |
| B.2.3-6-4 |  |  | EX | -0,3 |  |
| B.2.3-6-4 |  |  | H | 1 |  |
| B.2.3-6-4 |  |  | EY | 1 |  |
| B.2.3-6-4 |  |  | F | 1 |  |
| B.2.3-7 | Linear Add | No | Dead | 1 |  |
| B.2.3-7 |  |  | H | 1 |  |
| B.2.3-7 |  |  | Live | 0,75 |  |
| B.2.3-7 |  |  | G | 0,75 |  |
| B.2.3-7 |  |  | F | 1 |  |
| B.2.3-7 |  |  | W | 0,75 |  |
| B.2.3-8-1 | Linear Add | No | Dead | 1 |  |
| B.2.3-8-1 |  |  | EX | 0,525 |  |
| B.2.3-8-1 |  |  | H | 1 |  |
| B.2.3-8-1 |  |  | EY | 0,1575 |  |
| B.2.3-8-1 |  |  | Live | 0,75 |  |
| B.2.3-8-1 |  |  | G | 0,75 |  |
| B.2.3-8-1 |  |  | F | 1 |  |
| B.2.3-8-2 | Linear Add | No | Dead | 1 |  |
| B.2.3-8-2 |  |  | EX | 0,525 |  |
| B.2.3-8-2 |  |  | H | 1 |  |
| B.2.3-8-2 |  |  | EY | -0,1575 |  |
| B.2.3-8-2 |  |  | Live | 0,75 |  |
| B.2.3-8-2 |  |  | G | 0,75 |  |
| B.2.3-8-2 |  |  | F | 1 |  |
| B.2.3-8-3 | Linear Add | No | Dead | 1 |  |
| B.2.3-8-3 |  |  | EX | 0,1575 |  |
| B.2.3-8-3 |  |  | H | 1 |  |
| B.2.3-8-3 |  |  | EY | 0,525 |  |
| B.2.3-8-3 |  |  | Live | 0,75 |  |
| B.2.3-8-3 |  |  | G | 0,75 |  |
| B.2.3-8-3 |  |  | F | 1 |  |
| B.2.3-8-4 | Linear Add | No | Dead | 1 |  |
| B.2.3-8-4 |  |  | EX | -0,1575 |  |
| B.2.3-8-4 |  |  | H | 1 |  |
| B.2.3-8-4 |  |  | EY | 0,525 |  |
| B.2.3-8-4 |  |  | Live | 0,75 |  |
| B.2.3-8-4 |  |  | G | 0,75 |  |
| B.2.3-8-4 |  |  | F | 1 |  |
| B.2.3-9 | Linear Add | No | Dead | 0,6 |  |
| B.2.3-9 |  |  | H | 1 |  |
| B.2.3-9 |  |  | W | 1 |  |
| B.2.3-10-1 | Linear Add | No | Dead | 0,6 |  |
| B.2.3-10-1 |  |  | EX | 0,7 |  |
| B.2.3-10-1 |  |  | H | 1 |  |
| B.2.3-10-1 |  |  | EY | 0,21 |  |
| B.2.3-10-2 | Linear Add | No | Dead | 0,6 |  |
| B.2.3-10-2 |  |  | EX | 0,7 |  |
| B.2.3-10-2 |  |  | H | 1 |  |
| B.2.3-10-2 |  |  | EY | -0,21 |  |
| B.2.3-10-3 | Linear Add | No | Dead | 0,6 |  |
| B.2.3-10-3 |  |  | EX | 0,21 |  |
| B.2.3-10-3 |  |  | H | 1 |  |
| B.2.3-10-3 |  |  | EY | 0,7 |  |
| B.2.3-10-4 | Linear Add | No | Dead | 0,6 |  |
| B.2.3-10-4 |  |  | EX | -0,21 |  |
| B.2.3-10-4 |  |  | H | 1 |  |
| B.2.3-10-4 |  |  | EY | 0,7 |  |
| B.2.4-1 | Linear Add | No | Dead | 1,4 |  |
| B.2.4-2 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-2 |  |  | Live | 1,6 |  |
| B.2.4-2 |  |  | G | 0,5 |  |
| B.2.4-2 |  |  | H | 16 |  |
| B.2.4-3 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-3 |  |  | Live | 1 |  |
| B.2.4-3 |  |  | G | 1,6 |  |
| B.2.4-3 |  |  | H | 1,6 |  |
| B.2.4-4 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-4 |  |  | Live | 1 |  |
| B.2.4-4 |  |  | G | 0,5 |  |
| B.2.4-4 |  |  | H | 1,6 |  |
| B.2.4-4 |  |  | W | 1 |  |
| B.2.4-5-2 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-5-2 |  |  | EX | 1 |  |
| B.2.4-5-2 |  |  | Live | 1 |  |
| B.2.4-5-2 |  |  | EY | -0,3 |  |
| B.2.4-5-3 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-5-3 |  |  | EX | 0,3 |  |
| B.2.4-5-3 |  |  | Live | 1 |  |
| B.2.4-5-3 |  |  | EY | 1 |  |
| B.2.4-5-4 | Linear Add | No | Dead | 1,2 |  |
| B.2.4-5-4 |  |  | EX | -0,3 |  |
| B.2.4-5-4 |  |  | Live | 1 |  |
| B.2.4-5-4 |  |  | EY | 1 |  |
| B.2.4-6 | Linear Add | No | Dead | 0,9 |  |
| B.2.4-6 |  |  | W | 1 |  |
| B.2.4-7-1 | Linear Add | No | Dead | 0,9 |  |
| B.2.4-7-1 |  |  | EX | 1 |  |
| B.2.4-7-1 |  |  | EY | 0,3 |  |
| B.2.4-7-2 | Linear Add | No | Dead | 0,9 |  |
| B.2.4-7-2 |  |  | EX | 1 |  |
| B.2.4-7-2 |  |  | EY | -0,3 |  |
| B.2.4-7-3 | Linear Add | No | Dead | 0,9 |  |
| B.2.4-7-3 |  |  | EX | 0,3 |  |
| B.2.4-7-3 |  |  | EY | 1 |  |
| B.2.4-7-4 | Linear Add | No | Dead | 0,9 |  |
| B.2.4-7-4 |  |  | EX | -0,3 |  |
| B.2.4-7-4 |  |  | EY | 1 |  |
| DStlD1 | Linear Add | Yes | Dead | 1 | Dead [Deflections] |
| DStlD1 |  |  | TorsionEX | 1 |  |
| DStlD1 |  |  | TorsionEY | 1 |  |
| DStlD2 | Linear Add | Yes | Dead | 1 | Dead + Live [Deflections] |
| DStlD2 |  |  | Live | 1 |  |
| DStlD2 |  |  | Lr | 1 |  |
| DStlD2 |  |  | TorsionEX | 1 |  |
| DStlD2 |  |  | TorsionEY | 1 |  |
| MAYORADA | Linear Add | No | Dead | 1,4 |  |
| MAYORADA |  |  | Live | 1,7 |  |
| SERVICIO | Linear Add | No | Dead | 1 |  |
| SERVICIO |  |  | Live | 1 |  |
| SISMOX | Linear Add | No | Dead | 1,2 |  |
| SISMOX |  |  | EX | 1 |  |
| SISMOX |  |  | Live | 1 |  |
| SISMOX |  |  | EY | 0,3 |  |
| SISMOY | Linear Add | No | Dead | 1,2 |  |
| SISMOY |  |  | Live | 1 |  |
| SISMOY |  |  | EY | 1 |  |
| SISMOY |  |  | EX | 0,3 |  |

# 5 Analysis Results

This chapter provides analysis results.

## 5.1 Structure Results

Table 5.1 - Base Reactions

| Output Case | Case Type | Step Type | FX tonf | FY tonf | FZ tonf | MX tonf-m | MY tonf-m | MZ tonf-m | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dead | LinStatic |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| Live | LinStatic |  | 0 | 0 | 1,1196 | 1,4555 | -1,3323 | 0 | 0 | 0 | 0 |
| G | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| H | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| EX | LinRespSpec | Max | 0,23 | 0,1832 | 0 | 0,1984 | 0,2486 | 0,5441 | 0 | 0 | 0 |
| EY | LinRespSpec | Max | 0,2164 | 0,2386 | 0 | 0,2585 | 0,2366 | 0,5477 | 0 | 0 | 0 |
| Lr | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| F | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| T | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| W | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| TorsionEX | LinStatic |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| TorsionEY | LinStatic |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| B.2.4-2 | Combination |  | 0 | 0 | 1,9953 | 2,6021 | -2,3744 | 0 | 0 | 0 | 0 |
| B.2.4-1 | Combination |  | 0 | 0 | 0,238 | 0,3189 | -0,2832 | 0 | 0 | 0 | 0 |
| B.2.4-3 | Combination |  | 0 | 0 | 1,3236 | 1,7288 | -1,5751 | 0 | 0 | 0 | 0 |
| B.2.4-4 | Combination |  | 0 | 0 | 1,3236 | 1,7288 | -1,5751 | 0 | 0 | 0 | 0 |
| SISMOX | Combination | Max | 0,2949 | 0,2548 | 1,3236 | 2,0048 | -1,2555 | 0,7085 | 0 | 0 | 0 |
| SISMOX | Combination | Min | -0,2949 | -0,2548 | 1,3236 | 1,4528 | -1,8946 | -0,7085 | 0 | 0 | 0 |
| SISMOY | Combination | Max | 0,2854 | 0,2936 | 1,3236 | 2,0468 | -1,2639 | 0,711 | 0 | 0 | 0 |
| SISMOY | Combination | Min | -0,2854 | -0,2936 | 1,3236 | 1,4108 | -1,8862 | -0,711 | 0 | 0 | 0 |
| SERVICIO | Combination |  | 0 | 0 | 1,2896 | 1,6833 | -1,5346 | 0 | 0 | 0 | 0 |
| B.2.3-1 | Combination |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| B.2.3-2 | Combination |  | 0 | 0 | 1,2896 | 1,6833 | -1,5346 | 0 | 0 | 0 | 0 |
| B.2.3-3 | Combination |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| B.2.3-4 | Combination |  | 0 | 0 | 1,0097 | 1,3194 | -1,2015 | 0 | 0 | 0 | 0 |
| B.2.3-5 | Combination |  | 0 | 0 | 0,17 | 0,2278 | -0,2023 | 0 | 0 | 0 | 0 |
| B.2.3-7 | Combination |  | 0 | 0 | 1,0097 | 1,3194 | -1,2015 | 0 | 0 | 0 | 0 |
| B.2.3-6-1 | Combination | Max | 0,2949 | 0,2548 | 0,17 | 0,5037 | 0,1173 | 0,7085 | 0 | 0 | 0 |
| B.2.3-6-1 | Combination | Min | -0,2949 | -0,2548 | 0,17 | -0,0482 | -0,5219 | -0,7085 | 0 | 0 | 0 |
| B.2.3-6-2 | Combination | Max | 0,2949 | 0,2548 | 0,17 | 0,5037 | 0,1173 | 0,7085 | 0 | 0 | 0 |
| B.2.3-6-2 | Combination | Min | -0,2949 | -0,2548 | 0,17 | -0,0482 | -0,5219 | -0,7085 | 0 | 0 | 0 |
| B.2.3-6-3 | Combination | Max | 0,2854 | 0,2936 | 0,17 | 0,5457 | 0,1089 | 0,711 | 0 | 0 | 0 |
| B.2.3-6-3 | Combination | Min | -0,2854 | -0,2936 | 0,17 | -0,0902 | -0,5135 | -0,711 | 0 | 0 | 0 |
| B.2.3-6-4 | Combination | Max | 0,2854 | 0,2936 | 0,17 | 0,5457 | 0,1089 | 0,711 | 0 | 0 | 0 |
| B.2.3-6-4 | Combination | Min | -0,2854 | -0,2936 | 0,17 | -0,0902 | -0,5135 | -0,711 | 0 | 0 | 0 |
| B.2.3-8-1 | Combination | Max | 0,1548 | 0,1338 | 1,0097 | 1,4643 | -1,0337 | 0,3719 | 0 | 0 | 0 |
| B.2.3-8-1 | Combination | Min | -0,1548 | -0,1338 | 1,0097 | 1,1745 | -1,3693 | -0,3719 | 0 | 0 | 0 |
| B.2.3-8-2 | Combination | Max | 0,1548 | 0,1338 | 1,0097 | 1,4643 | -1,0337 | 0,3719 | 0 | 0 | 0 |
| B.2.3-8-2 | Combination | Min | -0,1548 | -0,1338 | 1,0097 | 1,1745 | -1,3693 | -0,3719 | 0 | 0 | 0 |
| B.2.3-8-3 | Combination | Max | 0,1498 | 0,1541 | 1,0097 | 1,4863 | -1,0381 | 0,3733 | 0 | 0 | 0 |
| B.2.3-8-3 | Combination | Min | -0,1498 | -0,1541 | 1,0097 | 1,1524 | -1,3649 | -0,3733 | 0 | 0 | 0 |
| B.2.3-8-4 | Combination | Max | 0,1498 | 0,1541 | 1,0097 | 1,4863 | -1,0381 | 0,3733 | 0 | 0 | 0 |
| B.2.3-8-4 | Combination | Min | -0,1498 | -0,1541 | 1,0097 | 1,1524 | -1,3649 | -0,3733 | 0 | 0 | 0 |
| B.2.3-9 | Combination |  | 0 | 0 | 0,102 | 0,1367 | -0,1214 | 0 | 0 | 0 | 0 |
| B.2.3-10-1 | Combination | Max | 0,2064 | 0,1783 | 0,102 | 0,3298 | 0,1023 | 0,4959 | 0 | 0 | 0 |
| B.2.3-10-1 | Combination | Min | -0,2064 | -0,1783 | 0,102 | -0,0565 | -0,3451 | -0,4959 | 0 | 0 | 0 |
| B.2.3-10-2 | Combination | Max | 0,2064 | 0,1783 | 0,102 | 0,3298 | 0,1023 | 0,4959 | 0 | 0 | 0 |
| B.2.3-10-2 | Combination | Min | -0,2064 | -0,1783 | 0,102 | -0,0565 | -0,3451 | -0,4959 | 0 | 0 | 0 |
| B.2.3-10-3 | Combination | Max | 0,1998 | 0,2055 | 0,102 | 0,3592 | 0,0965 | 0,4977 | 0 | 0 | 0 |
| B.2.3-10-3 | Combination | Min | -0,1998 | -0,2055 | 0,102 | -0,0859 | -0,3392 | -0,4977 | 0 | 0 | 0 |
| B.2.3-10-4 | Combination | Max | 0,1998 | 0,2055 | 0,102 | 0,3592 | 0,0965 | 0,4977 | 0 | 0 | 0 |
| B.2.3-10-4 | Combination | Min | -0,1998 | -0,2055 | 0,102 | -0,0859 | -0,3392 | -0,4977 | 0 | 0 | 0 |
| B.2.4-5-2 | Combination | Max | 0,2949 | 0,2548 | 1,3236 | 2,0048 | -1,2555 | 0,7085 | 0 | 0 | 0 |
| B.2.4-5-2 | Combination | Min | -0,2949 | -0,2548 | 1,3236 | 1,4528 | -1,8946 | -0,7085 | 0 | 0 | 0 |
| B.2.4-5-3 | Combination | Max | 0,2854 | 0,2936 | 1,3236 | 2,0468 | -1,2639 | 0,711 | 0 | 0 | 0 |
| B.2.4-5-3 | Combination | Min | -0,2854 | -0,2936 | 1,3236 | 1,4108 | -1,8862 | -0,711 | 0 | 0 | 0 |
| B.2.4-5-4 | Combination | Max | 0,2854 | 0,2936 | 1,3236 | 2,0468 | -1,2639 | 0,711 | 0 | 0 | 0 |
| B.2.4-5-4 | Combination | Min | -0,2854 | -0,2936 | 1,3236 | 1,4108 | -1,8862 | -0,711 | 0 | 0 | 0 |
| B.2.4-6 | Combination |  | 0 | 0 | 0,153 | 0,205 | -0,182 | 0 | 0 | 0 | 0 |
| B.2.4-7-1 | Combination | Max | 0,2949 | 0,2548 | 0,153 | 0,481 | 0,1375 | 0,7085 | 0 | 0 | 0 |
| B.2.4-7-1 | Combination | Min | -0,2949 | -0,2548 | 0,153 | -0,071 | -0,5016 | -0,7085 | 0 | 0 | 0 |
| B.2.4-7-2 | Combination | Max | 0,2949 | 0,2548 | 0,153 | 0,481 | 0,1375 | 0,7085 | 0 | 0 | 0 |
| B.2.4-7-2 | Combination | Min | -0,2949 | -0,2548 | 0,153 | -0,071 | -0,5016 | -0,7085 | 0 | 0 | 0 |
| B.2.4-7-3 | Combination | Max | 0,2854 | 0,2936 | 0,153 | 0,523 | 0,1292 | 0,711 | 0 | 0 | 0 |
| B.2.4-7-3 | Combination | Min | -0,2854 | -0,2936 | 0,153 | -0,113 | -0,4932 | -0,711 | 0 | 0 | 0 |
| B.2.4-7-4 | Combination | Max | 0,2854 | 0,2936 | 0,153 | 0,523 | 0,1292 | 0,711 | 0 | 0 | 0 |
| B.2.4-7-4 | Combination | Min | -0,2854 | -0,2936 | 0,153 | -0,113 | -0,4932 | -0,711 | 0 | 0 | 0 |
| MAYORADA | Combination |  | 0 | 0 | 2,1413 | 2,7932 | -2,5481 | 0 | 0 | 0 | 0 |
| DStlD1 | Combination |  | 0 | 0 | 0,5099 | 0,6833 | -0,6068 | 0 | 0 | 0 | 0 |
| DStlD2 | Combination |  | 0 | 0 | 1,6295 | 2,1388 | -1,9391 | 0 | 0 | 0 | 0 |

## 5.2 Story Results

Table 5.2 - Story Drifts

| Story | Output Case | Case Type | Step Type | Direction | Drift | Label | X m | Y m | Z m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N. +1.26 | Dead | LinStatic |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | Dead | LinStatic |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | Live | LinStatic |  | X | 0,000398 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | Live | LinStatic |  | Y | 0,000604 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | EX | LinRespSpec | Max | X | 0,001866 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | EX | LinRespSpec | Max | Y | 0,001646 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | EY | LinRespSpec | Max | X | 0,001883 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | EY | LinRespSpec | Max | Y | 0,001656 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | TorsionEX | LinStatic |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | TorsionEX | LinStatic |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | TorsionEY | LinStatic |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | TorsionEY | LinStatic |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-2 | Combination |  | X | 0,000681 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-2 | Combination |  | Y | 0,001041 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-1 | Combination |  | X | 5,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-1 | Combination |  | Y | 8,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-3 | Combination |  | X | 0,000442 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-3 | Combination |  | Y | 0,000679 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-4 | Combination |  | X | 0,000442 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-4 | Combination |  | Y | 0,000679 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOX | Combination | Max | X | 0,001992 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | SISMOX | Combination | Max | Y | 0,002821 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOX | Combination | Min | X | 0,002873 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOX | Combination | Min | Y | 0,001464 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOY | Combination | Max | X | 0,002004 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | SISMOY | Combination | Max | Y | 0,002829 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOY | Combination | Min | X | 0,002885 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SISMOY | Combination | Min | Y | 0,001472 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SERVICIO | Combination |  | X | 0,000435 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | SERVICIO | Combination |  | Y | 0,000666 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-1 | Combination |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-1 | Combination |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-2 | Combination |  | X | 0,000435 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-2 | Combination |  | Y | 0,000666 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-3 | Combination |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-3 | Combination |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-4 | Combination |  | X | 0,000335 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-4 | Combination |  | Y | 0,000515 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-5 | Combination |  | X | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-5 | Combination |  | Y | 6,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-7 | Combination |  | X | 0,000335 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-7 | Combination |  | Y | 0,000515 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-1 | Combination | Max | X | 0,002394 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-1 | Combination | Max | Y | 0,002205 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-1 | Combination | Min | X | 0,002468 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-1 | Combination | Min | Y | 0,00208 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-2 | Combination | Max | X | 0,002394 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-2 | Combination | Max | Y | 0,002205 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-2 | Combination | Min | X | 0,002468 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-2 | Combination | Min | Y | 0,00208 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-3 | Combination | Max | X | 0,002406 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-3 | Combination | Max | Y | 0,002212 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-3 | Combination | Min | X | 0,00248 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-3 | Combination | Min | Y | 0,002088 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-4 | Combination | Max | X | 0,002406 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-4 | Combination | Max | Y | 0,002212 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-4 | Combination | Min | X | 0,00248 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-6-4 | Combination | Min | Y | 0,002088 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-1 | Combination | Max | X | 0,000943 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-1 | Combination | Max | Y | 0,00164 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-1 | Combination | Min | X | 0,001612 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-1 | Combination | Min | Y | 0,00061 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-2 | Combination | Max | X | 0,000943 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-2 | Combination | Max | Y | 0,00164 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-2 | Combination | Min | X | 0,001612 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-2 | Combination | Min | Y | 0,00061 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-3 | Combination | Max | X | 0,000949 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-3 | Combination | Max | Y | 0,001644 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-3 | Combination | Min | X | 0,001618 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-3 | Combination | Min | Y | 0,000687 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-4 | Combination | Max | X | 0,000949 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-4 | Combination | Max | Y | 0,001644 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-4 | Combination | Min | X | 0,001618 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-8-4 | Combination | Min | Y | 0,000687 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-9 | Combination |  | X | 2,2E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-9 | Combination |  | Y | 3,7E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-1 | Combination | Max | X | 0,00168 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-1 | Combination | Max | Y | 0,001537 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-1 | Combination | Min | X | 0,001724 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-1 | Combination | Min | Y | 0,001462 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-2 | Combination | Max | X | 0,00168 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-2 | Combination | Max | Y | 0,001537 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-2 | Combination | Min | X | 0,001724 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-2 | Combination | Min | Y | 0,001462 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-3 | Combination | Max | X | 0,001688 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-3 | Combination | Max | Y | 0,001542 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-3 | Combination | Min | X | 0,001732 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-3 | Combination | Min | Y | 0,001468 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-4 | Combination | Max | X | 0,001688 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-4 | Combination | Max | Y | 0,001542 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-4 | Combination | Min | X | 0,001732 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.3-10-4 | Combination | Min | Y | 0,001468 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-2 | Combination | Max | X | 0,001992 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-2 | Combination | Max | Y | 0,002821 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-2 | Combination | Min | X | 0,002873 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-2 | Combination | Min | Y | 0,001464 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-3 | Combination | Max | X | 0,002004 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-3 | Combination | Max | Y | 0,002829 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-3 | Combination | Min | X | 0,002885 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-3 | Combination | Min | Y | 0,001472 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-4 | Combination | Max | X | 0,002004 | 1 | 0 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-4 | Combination | Max | Y | 0,002829 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-4 | Combination | Min | X | 0,002885 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-5-4 | Combination | Min | Y | 0,001472 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-6 | Combination |  | X | 3,3E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-6 | Combination |  | Y | 5,6E-05 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-1 | Combination | Max | X | 0,002398 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-1 | Combination | Max | Y | 0,002198 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-1 | Combination | Min | X | 0,002464 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-1 | Combination | Min | Y | 0,002087 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-2 | Combination | Max | X | 0,002398 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-2 | Combination | Max | Y | 0,002198 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-2 | Combination | Min | X | 0,002464 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-2 | Combination | Min | Y | 0,002087 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-3 | Combination | Max | X | 0,00241 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-3 | Combination | Max | Y | 0,002206 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-3 | Combination | Min | X | 0,002476 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-3 | Combination | Min | Y | 0,002094 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-4 | Combination | Max | X | 0,00241 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-4 | Combination | Max | Y | 0,002206 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-4 | Combination | Min | X | 0,002476 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | B.2.4-7-4 | Combination | Min | Y | 0,002094 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | MAYORADA | Combination |  | X | 0,000728 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | MAYORADA | Combination |  | Y | 0,001114 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | DStlD1 | Combination |  | X | 0,00011 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | DStlD1 | Combination |  | Y | 0,000187 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | DStlD2 | Combination |  | X | 0,000508 | 6 | 2,38 | 2,6 | 1,26 |
| N. +1.26 | DStlD2 | Combination |  | Y | 0,00079 | 6 | 2,38 | 2,6 | 1,26 |
| N. + 0.9 | Dead | LinStatic |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | Live | LinStatic |  | Y | 0,000848 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | EX | LinRespSpec | Max | X | 0,001483 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | EX | LinRespSpec | Max | Y | 0,0023 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | EY | LinRespSpec | Max | X | 0,001652 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | EY | LinRespSpec | Max | Y | 0,002316 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | TorsionEX | LinStatic |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | TorsionEY | LinStatic |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-2 | Combination |  | Y | 0,001462 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-1 | Combination |  | Y | 0,000122 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-3 | Combination |  | Y | 0,000953 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-4 | Combination |  | Y | 0,000953 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOX | Combination | Max | X | 0,001992 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOX | Combination | Max | Y | 0,003948 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOX | Combination | Min | X | 0,001965 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | SISMOX | Combination | Min | Y | 0,002042 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOY | Combination | Max | X | 0,002111 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOY | Combination | Max | Y | 0,003958 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SISMOY | Combination | Min | X | 0,002085 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | SISMOY | Combination | Min | Y | 0,002053 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | SERVICIO | Combination |  | Y | 0,000935 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-1 | Combination |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-2 | Combination |  | Y | 0,000935 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-3 | Combination |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-4 | Combination |  | Y | 0,000723 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-5 | Combination |  | Y | 8,7E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-7 | Combination |  | Y | 0,000723 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-1 | Combination | Max | X | 0,001976 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-1 | Combination | Max | Y | 0,003082 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-1 | Combination | Min | X | 0,001981 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-1 | Combination | Min | Y | 0,002908 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-2 | Combination | Max | X | 0,001976 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-2 | Combination | Max | Y | 0,003082 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-2 | Combination | Min | X | 0,001981 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-2 | Combination | Min | Y | 0,002908 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-3 | Combination | Max | X | 0,002095 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-3 | Combination | Max | Y | 0,003093 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-3 | Combination | Min | X | 0,002099 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-3 | Combination | Min | Y | 0,002918 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-4 | Combination | Max | X | 0,002095 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-4 | Combination | Max | Y | 0,003093 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-4 | Combination | Min | X | 0,002099 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-6-4 | Combination | Min | Y | 0,002918 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-1 | Combination | Max | X | 0,001049 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-1 | Combination | Max | Y | 0,002296 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-1 | Combination | Min | X | 0,001029 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-1 | Combination | Min | Y | 0,000849 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-2 | Combination | Max | X | 0,001049 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-2 | Combination | Max | Y | 0,002296 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-2 | Combination | Min | X | 0,001029 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-2 | Combination | Min | Y | 0,000849 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-3 | Combination | Max | X | 0,001111 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-3 | Combination | Max | Y | 0,002301 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-3 | Combination | Min | X | 0,001092 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-3 | Combination | Min | Y | 0,000956 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-4 | Combination | Max | X | 0,001111 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-4 | Combination | Max | Y | 0,002301 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-4 | Combination | Min | X | 0,001092 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-8-4 | Combination | Min | Y | 0,000956 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.3-9 | Combination |  | Y | 5,2E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-1 | Combination | Max | X | 0,001383 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-1 | Combination | Max | Y | 0,002149 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-1 | Combination | Min | X | 0,001386 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-1 | Combination | Min | Y | 0,002044 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-2 | Combination | Max | X | 0,001383 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-2 | Combination | Max | Y | 0,002149 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-2 | Combination | Min | X | 0,001386 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-2 | Combination | Min | Y | 0,002044 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-3 | Combination | Max | X | 0,001467 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-3 | Combination | Max | Y | 0,002156 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-3 | Combination | Min | X | 0,001469 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-3 | Combination | Min | Y | 0,002052 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-4 | Combination | Max | X | 0,001467 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-4 | Combination | Max | Y | 0,002156 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-4 | Combination | Min | X | 0,001469 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.3-10-4 | Combination | Min | Y | 0,002052 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-2 | Combination | Max | X | 0,001992 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-2 | Combination | Max | Y | 0,003948 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-2 | Combination | Min | X | 0,001965 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-2 | Combination | Min | Y | 0,002042 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-3 | Combination | Max | X | 0,002111 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-3 | Combination | Max | Y | 0,003958 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-3 | Combination | Min | X | 0,002085 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-3 | Combination | Min | Y | 0,002053 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-4 | Combination | Max | X | 0,002111 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-4 | Combination | Max | Y | 0,003958 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-4 | Combination | Min | X | 0,002085 | 3 | 0 | 0 | 0,9 |
| N. + 0.9 | B.2.4-5-4 | Combination | Min | Y | 0,002053 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-6 | Combination |  | Y | 7,9E-05 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-1 | Combination | Max | X | 0,001976 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-1 | Combination | Max | Y | 0,003073 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-1 | Combination | Min | X | 0,00198 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-1 | Combination | Min | Y | 0,002916 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-2 | Combination | Max | X | 0,001976 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-2 | Combination | Max | Y | 0,003073 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-2 | Combination | Min | X | 0,00198 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-2 | Combination | Min | Y | 0,002916 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-3 | Combination | Max | X | 0,002095 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-3 | Combination | Max | Y | 0,003084 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-3 | Combination | Min | X | 0,002099 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-3 | Combination | Min | Y | 0,002927 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-4 | Combination | Max | X | 0,002095 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-4 | Combination | Max | Y | 0,003084 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-4 | Combination | Min | X | 0,002099 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | B.2.4-7-4 | Combination | Min | Y | 0,002927 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | MAYORADA | Combination |  | Y | 0,001564 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | DStlD1 | Combination |  | Y | 0,000262 | 5 | 2,38 | 0 | 0,9 |
| N. + 0.9 | DStlD2 | Combination |  | Y | 0,00111 | 5 | 2,38 | 0 | 0,9 |

Table 5.3 - Story Forces

| Story | Output Case | Case Type | Step Type | Location | P tonf | VX tonf | VY tonf | T tonf-m | MX tonf-m | MY tonf-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N. +1.26 | Dead | LinStatic |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | Dead | LinStatic |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | Live | LinStatic |  | Top | 0,2549 | 0 | 0 | 0 | 0,6627 | -0,3033 |
| N. +1.26 | Live | LinStatic |  | Bottom | 0,3232 | 0,0361 | 0,1648 | 0,1492 | 0,1224 | -0,3587 |
| N. +1.26 | G | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | G | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | H | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | H | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | EX | LinRespSpec | Max | Top | 0 | 0,124 | 0,0932 | 0,4194 | 0 | 0 |
| N. +1.26 | EX | LinRespSpec | Max | Bottom | 0,0325 | 0,0252 | 0,0525 | 0,1046 | 0,0396 | 0,0602 |
| N. +1.26 | EY | LinRespSpec | Max | Top | 0 | 0,1349 | 0,1214 | 0,4329 | 0 | 0 |
| N. +1.26 | EY | LinRespSpec | Max | Bottom | 0,0402 | 0,0242 | 0,0528 | 0,105 | 0,0492 | 0,06 |
| N. +1.26 | Lr | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | Lr | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | F | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | F | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | T | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | T | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | W | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | W | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. +1.26 | TorsionEX | LinStatic |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | TorsionEX | LinStatic |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | TorsionEY | LinStatic |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | TorsionEY | LinStatic |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | B.2.4-2 | Combination |  | Top | 0,4465 | 0 | 0 | 0 | 1,1609 | -0,5313 |
| N. +1.26 | B.2.4-2 | Combination |  | Bottom | 0,564 | 0,0632 | 0,2858 | 0,2574 | 0,2121 | -0,6255 |
| N. +1.26 | B.2.4-1 | Combination |  | Top | 0,0451 | 0 | 0 | 0 | 0,1173 | -0,0537 |
| N. +1.26 | B.2.4-1 | Combination |  | Bottom | 0,0547 | 0,0063 | 0,0258 | 0,0218 | 0,019 | -0,0602 |
| N. +1.26 | B.2.4-3 | Combination |  | Top | 0,2936 | 0 | 0 | 0 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-3 | Combination |  | Bottom | 0,3701 | 0,0415 | 0,1869 | 0,1679 | 0,1387 | -0,4103 |
| N. +1.26 | B.2.4-4 | Combination |  | Top | 0,2936 | 0 | 0 | 0 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-4 | Combination |  | Bottom | 0,3701 | 0,0415 | 0,1869 | 0,1679 | 0,1387 | -0,4103 |
| N. +1.26 | SISMOX | Combination | Max | Top | 0,2936 | 0,1645 | 0,1296 | 0,5493 | 0,7633 | -0,3494 |
| N. +1.26 | SISMOX | Combination | Max | Bottom | 0,4146 | 0,074 | 0,2553 | 0,304 | 0,1931 | -0,3321 |
| N. +1.26 | SISMOX | Combination | Min | Top | 0,2936 | -0,1645 | -0,1296 | -0,5493 | 0,7633 | -0,3494 |
| N. +1.26 | SISMOX | Combination | Min | Bottom | 0,3255 | 0,009 | 0,1186 | 0,0317 | 0,0843 | -0,4885 |
| N. +1.26 | SISMOY | Combination | Max | Top | 0,2936 | 0,1721 | 0,1494 | 0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | SISMOY | Combination | Max | Bottom | 0,42 | 0,0733 | 0,2555 | 0,3043 | 0,1997 | -0,3322 |
| N. +1.26 | SISMOY | Combination | Min | Top | 0,2936 | -0,1721 | -0,1494 | -0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | SISMOY | Combination | Min | Bottom | 0,3201 | 0,0098 | 0,1184 | 0,0314 | 0,0776 | -0,4884 |
| N. +1.26 | SERVICIO | Combination |  | Top | 0,2871 | 0 | 0 | 0 | 0,7465 | -0,3417 |
| N. +1.26 | SERVICIO | Combination |  | Bottom | 0,3623 | 0,0406 | 0,1833 | 0,1647 | 0,136 | -0,4017 |
| N. +1.26 | B.2.3-1 | Combination |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-1 | Combination |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | B.2.3-2 | Combination |  | Top | 0,2871 | 0 | 0 | 0 | 0,7465 | -0,3417 |
| N. +1.26 | B.2.3-2 | Combination |  | Bottom | 0,3623 | 0,0406 | 0,1833 | 0,1647 | 0,136 | -0,4017 |
| N. +1.26 | B.2.3-3 | Combination |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-3 | Combination |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | B.2.3-4 | Combination |  | Top | 0,2234 | 0 | 0 | 0 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-4 | Combination |  | Bottom | 0,2815 | 0,0316 | 0,1421 | 0,1274 | 0,1054 | -0,312 |
| N. +1.26 | B.2.3-5 | Combination |  | Top | 0,0322 | 0 | 0 | 0 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-5 | Combination |  | Bottom | 0,0391 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,043 |
| N. +1.26 | B.2.3-7 | Combination |  | Top | 0,2234 | 0 | 0 | 0 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-7 | Combination |  | Bottom | 0,2815 | 0,0316 | 0,1421 | 0,1274 | 0,1054 | -0,312 |
| N. +1.26 | B.2.3-6-1 | Combination | Max | Top | 0,0322 | 0,1645 | 0,1296 | 0,5493 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-1 | Combination | Max | Bottom | 0,0837 | 0,037 | 0,0868 | 0,1517 | 0,068 | 0,0352 |
| N. +1.26 | B.2.3-6-1 | Combination | Min | Top | 0,0322 | -0,1645 | -0,1296 | -0,5493 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-1 | Combination | Min | Bottom | -0,0054 | -0,028 | -0,0499 | -0,1206 | -0,0408 | -0,1212 |
| N. +1.26 | B.2.3-6-2 | Combination | Max | Top | 0,0322 | 0,1645 | 0,1296 | 0,5493 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-2 | Combination | Max | Bottom | 0,0837 | 0,037 | 0,0868 | 0,1517 | 0,068 | 0,0352 |
| N. +1.26 | B.2.3-6-2 | Combination | Min | Top | 0,0322 | -0,1645 | -0,1296 | -0,5493 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-2 | Combination | Min | Bottom | -0,0054 | -0,028 | -0,0499 | -0,1206 | -0,0408 | -0,1212 |
| N. +1.26 | B.2.3-6-3 | Combination | Max | Top | 0,0322 | 0,1721 | 0,1494 | 0,5587 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-3 | Combination | Max | Bottom | 0,089 | 0,0362 | 0,087 | 0,152 | 0,0746 | 0,0351 |
| N. +1.26 | B.2.3-6-3 | Combination | Min | Top | 0,0322 | -0,1721 | -0,1494 | -0,5587 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-3 | Combination | Min | Bottom | -0,0108 | -0,0272 | -0,0501 | -0,1209 | -0,0475 | -0,1211 |
| N. +1.26 | B.2.3-6-4 | Combination | Max | Top | 0,0322 | 0,1721 | 0,1494 | 0,5587 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-4 | Combination | Max | Bottom | 0,089 | 0,0362 | 0,087 | 0,152 | 0,0746 | 0,0351 |
| N. +1.26 | B.2.3-6-4 | Combination | Min | Top | 0,0322 | -0,1721 | -0,1494 | -0,5587 | 0,0838 | -0,0384 |
| N. +1.26 | B.2.3-6-4 | Combination | Min | Bottom | -0,0108 | -0,0272 | -0,0501 | -0,1209 | -0,0475 | -0,1211 |
| N. +1.26 | B.2.3-8-1 | Combination | Max | Top | 0,2234 | 0,0863 | 0,0681 | 0,2884 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-1 | Combination | Max | Bottom | 0,3049 | 0,0487 | 0,1779 | 0,1989 | 0,1339 | -0,2709 |
| N. +1.26 | B.2.3-8-1 | Combination | Min | Top | 0,2234 | -0,0863 | -0,0681 | -0,2884 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-1 | Combination | Min | Bottom | 0,2581 | 0,0145 | 0,1062 | 0,056 | 0,0768 | -0,353 |
| N. +1.26 | B.2.3-8-2 | Combination | Max | Top | 0,2234 | 0,0863 | 0,0681 | 0,2884 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-2 | Combination | Max | Bottom | 0,3049 | 0,0487 | 0,1779 | 0,1989 | 0,1339 | -0,2709 |
| N. +1.26 | B.2.3-8-2 | Combination | Min | Top | 0,2234 | -0,0863 | -0,0681 | -0,2884 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-2 | Combination | Min | Bottom | 0,2581 | 0,0145 | 0,1062 | 0,056 | 0,0768 | -0,353 |
| N. +1.26 | B.2.3-8-3 | Combination | Max | Top | 0,2234 | 0,0904 | 0,0784 | 0,2933 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-3 | Combination | Max | Bottom | 0,3077 | 0,0483 | 0,1781 | 0,1991 | 0,1374 | -0,271 |
| N. +1.26 | B.2.3-8-3 | Combination | Min | Top | 0,2234 | -0,0904 | -0,0784 | -0,2933 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-3 | Combination | Min | Bottom | 0,2553 | 0,0149 | 0,1061 | 0,0558 | 0,0733 | -0,353 |
| N. +1.26 | B.2.3-8-4 | Combination | Max | Top | 0,2234 | 0,0904 | 0,0784 | 0,2933 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-4 | Combination | Max | Bottom | 0,3077 | 0,0483 | 0,1781 | 0,1991 | 0,1374 | -0,271 |
| N. +1.26 | B.2.3-8-4 | Combination | Min | Top | 0,2234 | -0,0904 | -0,0784 | -0,2933 | 0,5808 | -0,2658 |
| N. +1.26 | B.2.3-8-4 | Combination | Min | Bottom | 0,2553 | 0,0149 | 0,1061 | 0,0558 | 0,0733 | -0,353 |
| N. +1.26 | B.2.3-9 | Combination |  | Top | 0,0193 | 0 | 0 | 0 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-9 | Combination |  | Bottom | 0,0235 | 0,0027 | 0,0111 | 0,0093 | 0,0081 | -0,0258 |
| N. +1.26 | B.2.3-10-1 | Combination | Max | Top | 0,0193 | 0,1151 | 0,0908 | 0,3845 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-1 | Combination | Max | Bottom | 0,0546 | 0,0255 | 0,0589 | 0,1046 | 0,0462 | 0,0289 |
| N. +1.26 | B.2.3-10-1 | Combination | Min | Top | 0,0193 | -0,1151 | -0,0908 | -0,3845 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-1 | Combination | Min | Bottom | -0,0077 | -0,02 | -0,0368 | -0,086 | -0,0299 | -0,0805 |
| N. +1.26 | B.2.3-10-2 | Combination | Max | Top | 0,0193 | 0,1151 | 0,0908 | 0,3845 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-2 | Combination | Max | Bottom | 0,0546 | 0,0255 | 0,0589 | 0,1046 | 0,0462 | 0,0289 |
| N. +1.26 | B.2.3-10-2 | Combination | Min | Top | 0,0193 | -0,1151 | -0,0908 | -0,3845 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-2 | Combination | Min | Bottom | -0,0077 | -0,02 | -0,0368 | -0,086 | -0,0299 | -0,0805 |
| N. +1.26 | B.2.3-10-3 | Combination | Max | Top | 0,0193 | 0,1205 | 0,1046 | 0,3911 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-3 | Combination | Max | Bottom | 0,0584 | 0,0249 | 0,0591 | 0,1048 | 0,0509 | 0,0289 |
| N. +1.26 | B.2.3-10-3 | Combination | Min | Top | 0,0193 | -0,1205 | -0,1046 | -0,3911 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-3 | Combination | Min | Bottom | -0,0115 | -0,0195 | -0,0369 | -0,0862 | -0,0346 | -0,0805 |
| N. +1.26 | B.2.3-10-4 | Combination | Max | Top | 0,0193 | 0,1205 | 0,1046 | 0,3911 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-4 | Combination | Max | Bottom | 0,0584 | 0,0249 | 0,0591 | 0,1048 | 0,0509 | 0,0289 |
| N. +1.26 | B.2.3-10-4 | Combination | Min | Top | 0,0193 | -0,1205 | -0,1046 | -0,3911 | 0,0503 | -0,023 |
| N. +1.26 | B.2.3-10-4 | Combination | Min | Bottom | -0,0115 | -0,0195 | -0,0369 | -0,0862 | -0,0346 | -0,0805 |
| N. +1.26 | B.2.4-5-2 | Combination | Max | Top | 0,2936 | 0,1645 | 0,1296 | 0,5493 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-2 | Combination | Max | Bottom | 0,4146 | 0,074 | 0,2553 | 0,304 | 0,1931 | -0,3321 |
| N. +1.26 | B.2.4-5-2 | Combination | Min | Top | 0,2936 | -0,1645 | -0,1296 | -0,5493 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-2 | Combination | Min | Bottom | 0,3255 | 0,009 | 0,1186 | 0,0317 | 0,0843 | -0,4885 |
| N. +1.26 | B.2.4-5-3 | Combination | Max | Top | 0,2936 | 0,1721 | 0,1494 | 0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-3 | Combination | Max | Bottom | 0,42 | 0,0733 | 0,2555 | 0,3043 | 0,1997 | -0,3322 |
| N. +1.26 | B.2.4-5-3 | Combination | Min | Top | 0,2936 | -0,1721 | -0,1494 | -0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-3 | Combination | Min | Bottom | 0,3201 | 0,0098 | 0,1184 | 0,0314 | 0,0776 | -0,4884 |
| N. +1.26 | B.2.4-5-4 | Combination | Max | Top | 0,2936 | 0,1721 | 0,1494 | 0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-4 | Combination | Max | Bottom | 0,42 | 0,0733 | 0,2555 | 0,3043 | 0,1997 | -0,3322 |
| N. +1.26 | B.2.4-5-4 | Combination | Min | Top | 0,2936 | -0,1721 | -0,1494 | -0,5587 | 0,7633 | -0,3494 |
| N. +1.26 | B.2.4-5-4 | Combination | Min | Bottom | 0,3201 | 0,0098 | 0,1184 | 0,0314 | 0,0776 | -0,4884 |
| N. +1.26 | B.2.4-6 | Combination |  | Top | 0,029 | 0 | 0 | 0 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-6 | Combination |  | Bottom | 0,0352 | 0,0041 | 0,0166 | 0,014 | 0,0122 | -0,0387 |
| N. +1.26 | B.2.4-7-1 | Combination | Max | Top | 0,029 | 0,1645 | 0,1296 | 0,5493 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-1 | Combination | Max | Bottom | 0,0797 | 0,0366 | 0,085 | 0,1502 | 0,0666 | 0,0395 |
| N. +1.26 | B.2.4-7-1 | Combination | Min | Top | 0,029 | -0,1645 | -0,1296 | -0,5493 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-1 | Combination | Min | Bottom | -0,0094 | -0,0284 | -0,0518 | -0,1221 | -0,0421 | -0,1169 |
| N. +1.26 | B.2.4-7-2 | Combination | Max | Top | 0,029 | 0,1645 | 0,1296 | 0,5493 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-2 | Combination | Max | Bottom | 0,0797 | 0,0366 | 0,085 | 0,1502 | 0,0666 | 0,0395 |
| N. +1.26 | B.2.4-7-2 | Combination | Min | Top | 0,029 | -0,1645 | -0,1296 | -0,5493 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-2 | Combination | Min | Bottom | -0,0094 | -0,0284 | -0,0518 | -0,1221 | -0,0421 | -0,1169 |
| N. +1.26 | B.2.4-7-3 | Combination | Max | Top | 0,029 | 0,1721 | 0,1494 | 0,5587 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-3 | Combination | Max | Bottom | 0,0851 | 0,0358 | 0,0852 | 0,1504 | 0,0733 | 0,0394 |
| N. +1.26 | B.2.4-7-3 | Combination | Min | Top | 0,029 | -0,1721 | -0,1494 | -0,5587 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-3 | Combination | Min | Bottom | -0,0147 | -0,0277 | -0,052 | -0,1224 | -0,0488 | -0,1168 |
| N. +1.26 | B.2.4-7-4 | Combination | Max | Top | 0,029 | 0,1721 | 0,1494 | 0,5587 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-4 | Combination | Max | Bottom | 0,0851 | 0,0358 | 0,0852 | 0,1504 | 0,0733 | 0,0394 |
| N. +1.26 | B.2.4-7-4 | Combination | Min | Top | 0,029 | -0,1721 | -0,1494 | -0,5587 | 0,0754 | -0,0345 |
| N. +1.26 | B.2.4-7-4 | Combination | Min | Bottom | -0,0147 | -0,0277 | -0,052 | -0,1224 | -0,0488 | -0,1168 |
| N. +1.26 | MAYORADA | Combination |  | Top | 0,4784 | 0 | 0 | 0 | 1,244 | -0,5694 |
| N. +1.26 | MAYORADA | Combination |  | Bottom | 0,6041 | 0,0677 | 0,306 | 0,2754 | 0,2271 | -0,6699 |
| N. +1.26 | DStlD1 | Combination |  | Top | 0,0967 | 0 | 0 | 0 | 0,2514 | -0,1151 |
| N. +1.26 | DStlD1 | Combination |  | Bottom | 0,1173 | 0,0135 | 0,0553 | 0,0467 | 0,0407 | -0,129 |
| N. +1.26 | DStlD2 | Combination |  | Top | 0,3516 | 0 | 0 | 0 | 0,9141 | -0,4184 |
| N. +1.26 | DStlD2 | Combination |  | Bottom | 0,4405 | 0,0497 | 0,2202 | 0,1959 | 0,1631 | -0,4877 |
| N. + 0.9 | Dead | LinStatic |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | Dead | LinStatic |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | Live | LinStatic |  | Top | 0,578 | 0,0361 | 0,1648 | 0,1492 | 0,1224 | -0,662 |
| N. + 0.9 | Live | LinStatic |  | Bottom | 0,578 | 0,0361 | 0,1648 | 0,1492 | -0,0259 | -0,6295 |
| N. + 0.9 | G | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | G | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | H | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | H | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | EX | LinRespSpec | Max | Top | 0,0325 | 0,1482 | 0,1421 | 0,254 | 0,0396 | 0,0602 |
| N. + 0.9 | EX | LinRespSpec | Max | Bottom | 0,0325 | 0,1482 | 0,1421 | 0,254 | 0,089 | 0,151 |
| N. + 0.9 | EY | LinRespSpec | Max | Top | 0,0402 | 0,1468 | 0,1648 | 0,251 | 0,0492 | 0,06 |
| N. + 0.9 | EY | LinRespSpec | Max | Bottom | 0,0402 | 0,1468 | 0,1648 | 0,251 | 0,1001 | 0,1524 |
| N. + 0.9 | Lr | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | Lr | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | F | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | F | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | T | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | T | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | W | LinStatic |  | Top | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | W | LinStatic |  | Bottom | 0 | 0 | 0 | 0 | 0 | 0 |
| N. + 0.9 | TorsionEX | LinStatic |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | TorsionEX | LinStatic |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | TorsionEY | LinStatic |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | TorsionEY | LinStatic |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | B.2.4-2 | Combination |  | Top | 1,0105 | 0,0632 | 0,2858 | 0,2574 | 0,2121 | -1,1568 |
| N. + 0.9 | B.2.4-2 | Combination |  | Bottom | 1,0262 | 0,0632 | 0,2858 | 0,2574 | -0,0451 | -1,1186 |
| N. + 0.9 | B.2.4-1 | Combination |  | Top | 0,0999 | 0,0063 | 0,0258 | 0,0218 | 0,019 | -0,1139 |
| N. + 0.9 | B.2.4-1 | Combination |  | Bottom | 0,1182 | 0,0063 | 0,0258 | 0,0218 | -0,0042 | -0,13 |
| N. + 0.9 | B.2.4-3 | Combination |  | Top | 0,6636 | 0,0415 | 0,1869 | 0,1679 | 0,1387 | -0,7596 |
| N. + 0.9 | B.2.4-3 | Combination |  | Bottom | 0,6793 | 0,0415 | 0,1869 | 0,1679 | -0,0296 | -0,7409 |
| N. + 0.9 | B.2.4-4 | Combination |  | Top | 0,6636 | 0,0415 | 0,1869 | 0,1679 | 0,1387 | -0,7596 |
| N. + 0.9 | B.2.4-4 | Combination |  | Bottom | 0,6793 | 0,0415 | 0,1869 | 0,1679 | -0,0296 | -0,7409 |
| N. + 0.9 | SISMOX | Combination | Max | Top | 0,7082 | 0,2338 | 0,3785 | 0,4971 | 0,1931 | -0,6814 |
| N. + 0.9 | SISMOX | Combination | Max | Bottom | 0,7239 | 0,2338 | 0,3785 | 0,4971 | 0,0895 | -0,5442 |
| N. + 0.9 | SISMOX | Combination | Min | Top | 0,6191 | -0,1507 | -0,0046 | -0,1614 | 0,0843 | -0,8378 |
| N. + 0.9 | SISMOX | Combination | Min | Bottom | 0,6348 | -0,1507 | -0,0046 | -0,1614 | -0,1486 | -0,9376 |
| N. + 0.9 | SISMOY | Combination | Max | Top | 0,7136 | 0,2328 | 0,3944 | 0,4951 | 0,1997 | -0,6815 |
| N. + 0.9 | SISMOY | Combination | Max | Bottom | 0,7293 | 0,2328 | 0,3944 | 0,4951 | 0,0972 | -0,5432 |
| N. + 0.9 | SISMOY | Combination | Min | Top | 0,6137 | -0,1497 | -0,0205 | -0,1594 | 0,0776 | -0,8377 |
| N. + 0.9 | SISMOY | Combination | Min | Bottom | 0,6294 | -0,1497 | -0,0205 | -0,1594 | -0,1563 | -0,9386 |
| N. + 0.9 | SERVICIO | Combination |  | Top | 0,6494 | 0,0406 | 0,1833 | 0,1647 | 0,136 | -0,7433 |
| N. + 0.9 | SERVICIO | Combination |  | Bottom | 0,6625 | 0,0406 | 0,1833 | 0,1647 | -0,029 | -0,7223 |
| N. + 0.9 | B.2.3-1 | Combination |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | B.2.3-1 | Combination |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | B.2.3-2 | Combination |  | Top | 0,6494 | 0,0406 | 0,1833 | 0,1647 | 0,136 | -0,7433 |
| N. + 0.9 | B.2.3-2 | Combination |  | Bottom | 0,6625 | 0,0406 | 0,1833 | 0,1647 | -0,029 | -0,7223 |
| N. + 0.9 | B.2.3-3 | Combination |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | B.2.3-3 | Combination |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | B.2.3-4 | Combination |  | Top | 0,5049 | 0,0316 | 0,1421 | 0,1274 | 0,1054 | -0,5778 |
| N. + 0.9 | B.2.3-4 | Combination |  | Bottom | 0,5179 | 0,0316 | 0,1421 | 0,1274 | -0,0225 | -0,565 |
| N. + 0.9 | B.2.3-5 | Combination |  | Top | 0,0713 | 0,0045 | 0,0184 | 0,0156 | 0,0136 | -0,0814 |
| N. + 0.9 | B.2.3-5 | Combination |  | Bottom | 0,0844 | 0,0045 | 0,0184 | 0,0156 | -0,003 | -0,0929 |
| N. + 0.9 | B.2.3-7 | Combination |  | Top | 0,5049 | 0,0316 | 0,1421 | 0,1274 | 0,1054 | -0,5778 |
| N. + 0.9 | B.2.3-7 | Combination |  | Bottom | 0,5179 | 0,0316 | 0,1421 | 0,1274 | -0,0225 | -0,565 |
| N. + 0.9 | B.2.3-6-1 | Combination | Max | Top | 0,1159 | 0,1968 | 0,21 | 0,3449 | 0,068 | -0,0032 |
| N. + 0.9 | B.2.3-6-1 | Combination | Max | Bottom | 0,129 | 0,1968 | 0,21 | 0,3449 | 0,116 | 0,1039 |
| N. + 0.9 | B.2.3-6-1 | Combination | Min | Top | 0,0268 | -0,1878 | -0,1731 | -0,3137 | -0,0408 | -0,1595 |
| N. + 0.9 | B.2.3-6-1 | Combination | Min | Bottom | 0,0399 | -0,1878 | -0,1731 | -0,3137 | -0,1221 | -0,2896 |
| N. + 0.9 | B.2.3-6-2 | Combination | Max | Top | 0,1159 | 0,1968 | 0,21 | 0,3449 | 0,068 | -0,0032 |
| N. + 0.9 | B.2.3-6-2 | Combination | Max | Bottom | 0,129 | 0,1968 | 0,21 | 0,3449 | 0,116 | 0,1039 |
| N. + 0.9 | B.2.3-6-2 | Combination | Min | Top | 0,0268 | -0,1878 | -0,1731 | -0,3137 | -0,0408 | -0,1595 |
| N. + 0.9 | B.2.3-6-2 | Combination | Min | Bottom | 0,0399 | -0,1878 | -0,1731 | -0,3137 | -0,1221 | -0,2896 |
| N. + 0.9 | B.2.3-6-3 | Combination | Max | Top | 0,1213 | 0,1958 | 0,2259 | 0,3428 | 0,0746 | -0,0033 |
| N. + 0.9 | B.2.3-6-3 | Combination | Max | Bottom | 0,1343 | 0,1958 | 0,2259 | 0,3428 | 0,1237 | 0,1049 |
| N. + 0.9 | B.2.3-6-3 | Combination | Min | Top | 0,0214 | -0,1868 | -0,189 | -0,3117 | -0,0475 | -0,1594 |
| N. + 0.9 | B.2.3-6-3 | Combination | Min | Bottom | 0,0345 | -0,1868 | -0,189 | -0,3117 | -0,1298 | -0,2906 |
| N. + 0.9 | B.2.3-6-4 | Combination | Max | Top | 0,1213 | 0,1958 | 0,2259 | 0,3428 | 0,0746 | -0,0033 |
| N. + 0.9 | B.2.3-6-4 | Combination | Max | Bottom | 0,1343 | 0,1958 | 0,2259 | 0,3428 | 0,1237 | 0,1049 |
| N. + 0.9 | B.2.3-6-4 | Combination | Min | Top | 0,0214 | -0,1868 | -0,189 | -0,3117 | -0,0475 | -0,1594 |
| N. + 0.9 | B.2.3-6-4 | Combination | Min | Bottom | 0,0345 | -0,1868 | -0,189 | -0,3117 | -0,1298 | -0,2906 |
| N. + 0.9 | B.2.3-8-1 | Combination | Max | Top | 0,5283 | 0,1325 | 0,2426 | 0,3003 | 0,1339 | -0,5368 |
| N. + 0.9 | B.2.3-8-1 | Combination | Max | Bottom | 0,5413 | 0,1325 | 0,2426 | 0,3003 | 0,04 | -0,4617 |
| N. + 0.9 | B.2.3-8-1 | Combination | Min | Top | 0,4815 | -0,0693 | 0,0415 | -0,0454 | 0,0768 | -0,6189 |
| N. + 0.9 | B.2.3-8-1 | Combination | Min | Bottom | 0,4946 | -0,0693 | 0,0415 | -0,0454 | -0,085 | -0,6682 |
| N. + 0.9 | B.2.3-8-2 | Combination | Max | Top | 0,5283 | 0,1325 | 0,2426 | 0,3003 | 0,1339 | -0,5368 |
| N. + 0.9 | B.2.3-8-2 | Combination | Max | Bottom | 0,5413 | 0,1325 | 0,2426 | 0,3003 | 0,04 | -0,4617 |
| N. + 0.9 | B.2.3-8-2 | Combination | Min | Top | 0,4815 | -0,0693 | 0,0415 | -0,0454 | 0,0768 | -0,6189 |
| N. + 0.9 | B.2.3-8-2 | Combination | Min | Bottom | 0,4946 | -0,0693 | 0,0415 | -0,0454 | -0,085 | -0,6682 |
| N. + 0.9 | B.2.3-8-3 | Combination | Max | Top | 0,5311 | 0,132 | 0,251 | 0,2992 | 0,1374 | -0,5368 |
| N. + 0.9 | B.2.3-8-3 | Combination | Max | Bottom | 0,5442 | 0,132 | 0,251 | 0,2992 | 0,0441 | -0,4612 |
| N. + 0.9 | B.2.3-8-3 | Combination | Min | Top | 0,4787 | -0,0688 | 0,0331 | -0,0443 | 0,0733 | -0,6188 |
| N. + 0.9 | B.2.3-8-3 | Combination | Min | Bottom | 0,4917 | -0,0688 | 0,0331 | -0,0443 | -0,089 | -0,6688 |
| N. + 0.9 | B.2.3-8-4 | Combination | Max | Top | 0,5311 | 0,132 | 0,251 | 0,2992 | 0,1374 | -0,5368 |
| N. + 0.9 | B.2.3-8-4 | Combination | Max | Bottom | 0,5442 | 0,132 | 0,251 | 0,2992 | 0,0441 | -0,4612 |
| N. + 0.9 | B.2.3-8-4 | Combination | Min | Top | 0,4787 | -0,0688 | 0,0331 | -0,0443 | 0,0733 | -0,6188 |
| N. + 0.9 | B.2.3-8-4 | Combination | Min | Bottom | 0,4917 | -0,0688 | 0,0331 | -0,0443 | -0,089 | -0,6688 |
| N. + 0.9 | B.2.3-9 | Combination |  | Top | 0,0428 | 0,0027 | 0,0111 | 0,0093 | 0,0081 | -0,0488 |
| N. + 0.9 | B.2.3-9 | Combination |  | Bottom | 0,0506 | 0,0027 | 0,0111 | 0,0093 | -0,0018 | -0,0557 |
| N. + 0.9 | B.2.3-10-1 | Combination | Max | Top | 0,074 | 0,1373 | 0,1452 | 0,2398 | 0,0462 | 0,0059 |
| N. + 0.9 | B.2.3-10-1 | Combination | Max | Bottom | 0,0818 | 0,1373 | 0,1452 | 0,2398 | 0,0815 | 0,082 |
| N. + 0.9 | B.2.3-10-1 | Combination | Min | Top | 0,0116 | -0,1319 | -0,123 | -0,2212 | -0,0299 | -0,1035 |
| N. + 0.9 | B.2.3-10-1 | Combination | Min | Bottom | 0,0195 | -0,1319 | -0,123 | -0,2212 | -0,0851 | -0,1934 |
| N. + 0.9 | B.2.3-10-2 | Combination | Max | Top | 0,074 | 0,1373 | 0,1452 | 0,2398 | 0,0462 | 0,0059 |
| N. + 0.9 | B.2.3-10-2 | Combination | Max | Bottom | 0,0818 | 0,1373 | 0,1452 | 0,2398 | 0,0815 | 0,082 |
| N. + 0.9 | B.2.3-10-2 | Combination | Min | Top | 0,0116 | -0,1319 | -0,123 | -0,2212 | -0,0299 | -0,1035 |
| N. + 0.9 | B.2.3-10-2 | Combination | Min | Bottom | 0,0195 | -0,1319 | -0,123 | -0,2212 | -0,0851 | -0,1934 |
| N. + 0.9 | B.2.3-10-3 | Combination | Max | Top | 0,0778 | 0,1366 | 0,1563 | 0,2384 | 0,0509 | 0,0059 |
| N. + 0.9 | B.2.3-10-3 | Combination | Max | Bottom | 0,0856 | 0,1366 | 0,1563 | 0,2384 | 0,0869 | 0,0827 |
| N. + 0.9 | B.2.3-10-3 | Combination | Min | Top | 0,0078 | -0,1312 | -0,1342 | -0,2197 | -0,0346 | -0,1035 |
| N. + 0.9 | B.2.3-10-3 | Combination | Min | Bottom | 0,0157 | -0,1312 | -0,1342 | -0,2197 | -0,0905 | -0,1941 |
| N. + 0.9 | B.2.3-10-4 | Combination | Max | Top | 0,0778 | 0,1366 | 0,1563 | 0,2384 | 0,0509 | 0,0059 |
| N. + 0.9 | B.2.3-10-4 | Combination | Max | Bottom | 0,0856 | 0,1366 | 0,1563 | 0,2384 | 0,0869 | 0,0827 |
| N. + 0.9 | B.2.3-10-4 | Combination | Min | Top | 0,0078 | -0,1312 | -0,1342 | -0,2197 | -0,0346 | -0,1035 |
| N. + 0.9 | B.2.3-10-4 | Combination | Min | Bottom | 0,0157 | -0,1312 | -0,1342 | -0,2197 | -0,0905 | -0,1941 |
| N. + 0.9 | B.2.4-5-2 | Combination | Max | Top | 0,7082 | 0,2338 | 0,3785 | 0,4971 | 0,1931 | -0,6814 |
| N. + 0.9 | B.2.4-5-2 | Combination | Max | Bottom | 0,7239 | 0,2338 | 0,3785 | 0,4971 | 0,0895 | -0,5442 |
| N. + 0.9 | B.2.4-5-2 | Combination | Min | Top | 0,6191 | -0,1507 | -0,0046 | -0,1614 | 0,0843 | -0,8378 |
| N. + 0.9 | B.2.4-5-2 | Combination | Min | Bottom | 0,6348 | -0,1507 | -0,0046 | -0,1614 | -0,1486 | -0,9376 |
| N. + 0.9 | B.2.4-5-3 | Combination | Max | Top | 0,7136 | 0,2328 | 0,3944 | 0,4951 | 0,1997 | -0,6815 |
| N. + 0.9 | B.2.4-5-3 | Combination | Max | Bottom | 0,7293 | 0,2328 | 0,3944 | 0,4951 | 0,0972 | -0,5432 |
| N. + 0.9 | B.2.4-5-3 | Combination | Min | Top | 0,6137 | -0,1497 | -0,0205 | -0,1594 | 0,0776 | -0,8377 |
| N. + 0.9 | B.2.4-5-3 | Combination | Min | Bottom | 0,6294 | -0,1497 | -0,0205 | -0,1594 | -0,1563 | -0,9386 |
| N. + 0.9 | B.2.4-5-4 | Combination | Max | Top | 0,7136 | 0,2328 | 0,3944 | 0,4951 | 0,1997 | -0,6815 |
| N. + 0.9 | B.2.4-5-4 | Combination | Max | Bottom | 0,7293 | 0,2328 | 0,3944 | 0,4951 | 0,0972 | -0,5432 |
| N. + 0.9 | B.2.4-5-4 | Combination | Min | Top | 0,6137 | -0,1497 | -0,0205 | -0,1594 | 0,0776 | -0,8377 |
| N. + 0.9 | B.2.4-5-4 | Combination | Min | Bottom | 0,6294 | -0,1497 | -0,0205 | -0,1594 | -0,1563 | -0,9386 |
| N. + 0.9 | B.2.4-6 | Combination |  | Top | 0,0642 | 0,0041 | 0,0166 | 0,014 | 0,0122 | -0,0732 |
| N. + 0.9 | B.2.4-6 | Combination |  | Bottom | 0,076 | 0,0041 | 0,0166 | 0,014 | -0,0027 | -0,0836 |
| N. + 0.9 | B.2.4-7-1 | Combination | Max | Top | 0,1087 | 0,1963 | 0,2082 | 0,3433 | 0,0666 | 0,005 |
| N. + 0.9 | B.2.4-7-1 | Combination | Max | Bottom | 0,1205 | 0,1963 | 0,2082 | 0,3433 | 0,1163 | 0,1132 |
| N. + 0.9 | B.2.4-7-1 | Combination | Min | Top | 0,0197 | -0,1882 | -0,175 | -0,3153 | -0,0421 | -0,1514 |
| N. + 0.9 | B.2.4-7-1 | Combination | Min | Bottom | 0,0314 | -0,1882 | -0,175 | -0,3153 | -0,1218 | -0,2803 |
| N. + 0.9 | B.2.4-7-2 | Combination | Max | Top | 0,1087 | 0,1963 | 0,2082 | 0,3433 | 0,0666 | 0,005 |
| N. + 0.9 | B.2.4-7-2 | Combination | Max | Bottom | 0,1205 | 0,1963 | 0,2082 | 0,3433 | 0,1163 | 0,1132 |
| N. + 0.9 | B.2.4-7-2 | Combination | Min | Top | 0,0197 | -0,1882 | -0,175 | -0,3153 | -0,0421 | -0,1514 |
| N. + 0.9 | B.2.4-7-2 | Combination | Min | Bottom | 0,0314 | -0,1882 | -0,175 | -0,3153 | -0,1218 | -0,2803 |
| N. + 0.9 | B.2.4-7-3 | Combination | Max | Top | 0,1141 | 0,1953 | 0,2241 | 0,3412 | 0,0733 | 0,0049 |
| N. + 0.9 | B.2.4-7-3 | Combination | Max | Bottom | 0,1259 | 0,1953 | 0,2241 | 0,3412 | 0,124 | 0,1142 |
| N. + 0.9 | B.2.4-7-3 | Combination | Min | Top | 0,0143 | -0,1872 | -0,1909 | -0,3132 | -0,0488 | -0,1513 |
| N. + 0.9 | B.2.4-7-3 | Combination | Min | Bottom | 0,026 | -0,1872 | -0,1909 | -0,3132 | -0,1295 | -0,2813 |
| N. + 0.9 | B.2.4-7-4 | Combination | Max | Top | 0,1141 | 0,1953 | 0,2241 | 0,3412 | 0,0733 | 0,0049 |
| N. + 0.9 | B.2.4-7-4 | Combination | Max | Bottom | 0,1259 | 0,1953 | 0,2241 | 0,3412 | 0,124 | 0,1142 |
| N. + 0.9 | B.2.4-7-4 | Combination | Min | Top | 0,0143 | -0,1872 | -0,1909 | -0,3132 | -0,0488 | -0,1513 |
| N. + 0.9 | B.2.4-7-4 | Combination | Min | Bottom | 0,026 | -0,1872 | -0,1909 | -0,3132 | -0,1295 | -0,2813 |
| N. + 0.9 | MAYORADA | Combination |  | Top | 1,0826 | 0,0677 | 0,306 | 0,2754 | 0,2271 | -1,2393 |
| N. + 0.9 | MAYORADA | Combination |  | Bottom | 1,1009 | 0,0677 | 0,306 | 0,2754 | -0,0483 | -1,2001 |
| N. + 0.9 | DStlD1 | Combination |  | Top | 0,214 | 0,0135 | 0,0553 | 0,0467 | 0,0407 | -0,2441 |
| N. + 0.9 | DStlD1 | Combination |  | Bottom | 0,2532 | 0,0135 | 0,0553 | 0,0467 | -0,0091 | -0,2786 |
| N. + 0.9 | DStlD2 | Combination |  | Top | 0,792 | 0,0497 | 0,2202 | 0,1959 | 0,1631 | -0,906 |
| N. + 0.9 | DStlD2 | Combination |  | Bottom | 0,8313 | 0,0497 | 0,2202 | 0,1959 | -0,035 | -0,908 |

## 5.3 Point Results

Table 5.4 - Joint Reactions

| Story | Label | Unique Name | Output Case | Case Type | Step Type | FX tonf | FY tonf | FZ tonf | MX tonf-m | MY tonf-m | MZ tonf-m |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Base | 1 | 5 | Dead | LinStatic |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | Live | LinStatic |  | 0,0378 | -0,0627 | 0,2507 | 0,0261 | 0,0193 | -3,282E-05 |
| Base | 1 | 5 | G | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | H | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | EX | LinRespSpec | Max | 0,0552 | 0,0124 | 0,028 | 0,0119 | 0,043 | 2,8E-05 |
| Base | 1 | 5 | EY | LinRespSpec | Max | 0,0649 | 0,0539 | 0,0293 | 0,0446 | 0,0525 | 4,234E-05 |
| Base | 1 | 5 | Lr | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | F | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | T | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | W | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 1 | 5 | TorsionEX | LinStatic |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | TorsionEY | LinStatic |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | B.2.4-2 | Combination |  | 0,0654 | -0,1087 | 0,4495 | 0,0454 | 0,0333 | -0,0001 |
| Base | 1 | 5 | B.2.4-1 | Combination |  | 0,0057 | -0,0098 | 0,0564 | 0,0042 | 0,0028 | -5,378E-06 |
| Base | 1 | 5 | B.2.4-3 | Combination |  | 0,0427 | -0,0711 | 0,299 | 0,0298 | 0,0217 | -3,743E-05 |
| Base | 1 | 5 | B.2.4-4 | Combination |  | 0,0427 | -0,0711 | 0,299 | 0,0298 | 0,0217 | -3,743E-05 |
| Base | 1 | 5 | SISMOX | Combination | Max | 0,1174 | -0,0425 | 0,3359 | 0,055 | 0,0804 | 3,27E-06 |
| Base | 1 | 5 | SISMOX | Combination | Min | -0,032 | -0,0996 | 0,2622 | 0,0045 | -0,0371 | -0,0001 |
| Base | 1 | 5 | SISMOY | Combination | Max | 0,1241 | -0,0134 | 0,3368 | 0,0779 | 0,0871 | 1,331E-05 |
| Base | 1 | 5 | SISMOY | Combination | Min | -0,0387 | -0,1287 | 0,2613 | -0,0184 | -0,0438 | -0,0001 |
| Base | 1 | 5 | SERVICIO | Combination |  | 0,0419 | -0,0697 | 0,291 | 0,0292 | 0,0213 | -3,666E-05 |
| Base | 1 | 5 | B.2.3-1 | Combination |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | B.2.3-2 | Combination |  | 0,0419 | -0,0697 | 0,291 | 0,0292 | 0,0213 | -3,666E-05 |
| Base | 1 | 5 | B.2.3-3 | Combination |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | B.2.3-4 | Combination |  | 0,0324 | -0,054 | 0,2283 | 0,0226 | 0,0165 | -2,845E-05 |
| Base | 1 | 5 | B.2.3-5 | Combination |  | 0,0041 | -0,007 | 0,0403 | 0,003 | 0,002 | -3,841E-06 |
| Base | 1 | 5 | B.2.3-7 | Combination |  | 0,0324 | -0,054 | 0,2283 | 0,0226 | 0,0165 | -2,845E-05 |
| Base | 1 | 5 | B.2.3-6-1 | Combination | Max | 0,0788 | 0,0216 | 0,0771 | 0,0283 | 0,0607 | 3,686E-05 |
| Base | 1 | 5 | B.2.3-6-1 | Combination | Min | -0,0706 | -0,0356 | 0,0034 | -0,0222 | -0,0568 | -4,454E-05 |
| Base | 1 | 5 | B.2.3-6-2 | Combination | Max | 0,0788 | 0,0216 | 0,0771 | 0,0283 | 0,0607 | 3,686E-05 |
| Base | 1 | 5 | B.2.3-6-2 | Combination | Min | -0,0706 | -0,0356 | 0,0034 | -0,0222 | -0,0568 | -4,454E-05 |
| Base | 1 | 5 | B.2.3-6-3 | Combination | Max | 0,0855 | 0,0506 | 0,078 | 0,0512 | 0,0674 | 4,689E-05 |
| Base | 1 | 5 | B.2.3-6-3 | Combination | Min | -0,0773 | -0,0646 | 0,0025 | -0,0451 | -0,0635 | -0,0001 |
| Base | 1 | 5 | B.2.3-6-4 | Combination | Max | 0,0855 | 0,0506 | 0,078 | 0,0512 | 0,0674 | 4,689E-05 |
| Base | 1 | 5 | B.2.3-6-4 | Combination | Min | -0,0773 | -0,0646 | 0,0025 | -0,0451 | -0,0635 | -0,0001 |
| Base | 1 | 5 | B.2.3-8-1 | Combination | Max | 0,0716 | -0,039 | 0,2476 | 0,0359 | 0,0473 | -7,088E-06 |
| Base | 1 | 5 | B.2.3-8-1 | Combination | Min | -0,0068 | -0,069 | 0,209 | 0,0094 | -0,0144 | -4,982E-05 |
| Base | 1 | 5 | B.2.3-8-2 | Combination | Max | 0,0716 | -0,039 | 0,2476 | 0,0359 | 0,0473 | -7,088E-06 |
| Base | 1 | 5 | B.2.3-8-2 | Combination | Min | -0,0068 | -0,069 | 0,209 | 0,0094 | -0,0144 | -4,982E-05 |
| Base | 1 | 5 | B.2.3-8-3 | Combination | Max | 0,0752 | -0,0237 | 0,2481 | 0,0479 | 0,0508 | -1,818E-06 |
| Base | 1 | 5 | B.2.3-8-3 | Combination | Min | -0,0103 | -0,0842 | 0,2085 | -0,0027 | -0,0179 | -0,0001 |
| Base | 1 | 5 | B.2.3-8-4 | Combination | Max | 0,0752 | -0,0237 | 0,2481 | 0,0479 | 0,0508 | -1,818E-06 |
| Base | 1 | 5 | B.2.3-8-4 | Combination | Min | -0,0103 | -0,0842 | 0,2085 | -0,0027 | -0,0179 | -0,0001 |
| Base | 1 | 5 | B.2.3-9 | Combination |  | 0,0025 | -0,0042 | 0,0242 | 0,0018 | 0,0012 | -2,305E-06 |
| Base | 1 | 5 | B.2.3-10-1 | Combination | Max | 0,0547 | 0,0158 | 0,0499 | 0,0195 | 0,0423 | 2,618E-05 |
| Base | 1 | 5 | B.2.3-10-1 | Combination | Min | -0,0498 | -0,0242 | -0,0016 | -0,0159 | -0,0399 | -3,079E-05 |
| Base | 1 | 5 | B.2.3-10-2 | Combination | Max | 0,0547 | 0,0158 | 0,0499 | 0,0195 | 0,0423 | 2,618E-05 |
| Base | 1 | 5 | B.2.3-10-2 | Combination | Min | -0,0498 | -0,0242 | -0,0016 | -0,0159 | -0,0399 | -3,079E-05 |
| Base | 1 | 5 | B.2.3-10-3 | Combination | Max | 0,0595 | 0,0361 | 0,0506 | 0,0355 | 0,047 | 3,321E-05 |
| Base | 1 | 5 | B.2.3-10-3 | Combination | Min | -0,0545 | -0,0445 | -0,0023 | -0,0319 | -0,0446 | -3,782E-05 |
| Base | 1 | 5 | B.2.3-10-4 | Combination | Max | 0,0595 | 0,0361 | 0,0506 | 0,0355 | 0,047 | 3,321E-05 |
| Base | 1 | 5 | B.2.3-10-4 | Combination | Min | -0,0545 | -0,0445 | -0,0023 | -0,0319 | -0,0446 | -3,782E-05 |
| Base | 1 | 5 | B.2.4-5-2 | Combination | Max | 0,1174 | -0,0425 | 0,3359 | 0,055 | 0,0804 | 3,27E-06 |
| Base | 1 | 5 | B.2.4-5-2 | Combination | Min | -0,032 | -0,0996 | 0,2622 | 0,0045 | -0,0371 | -0,0001 |
| Base | 1 | 5 | B.2.4-5-3 | Combination | Max | 0,1241 | -0,0134 | 0,3368 | 0,0779 | 0,0871 | 1,331E-05 |
| Base | 1 | 5 | B.2.4-5-3 | Combination | Min | -0,0387 | -0,1287 | 0,2613 | -0,0184 | -0,0438 | -0,0001 |
| Base | 1 | 5 | B.2.4-5-4 | Combination | Max | 0,1241 | -0,0134 | 0,3368 | 0,0779 | 0,0871 | 1,331E-05 |
| Base | 1 | 5 | B.2.4-5-4 | Combination | Min | -0,0387 | -0,1287 | 0,2613 | -0,0184 | -0,0438 | -0,0001 |
| Base | 1 | 5 | B.2.4-6 | Combination |  | 0,0037 | -0,0063 | 0,0362 | 0,0027 | 0,0018 | -3,457E-06 |
| Base | 1 | 5 | B.2.4-7-1 | Combination | Max | 0,0784 | 0,0223 | 0,0731 | 0,028 | 0,0605 | 3,724E-05 |
| Base | 1 | 5 | B.2.4-7-1 | Combination | Min | -0,071 | -0,0349 | -0,0006 | -0,0225 | -0,057 | -4,415E-05 |
| Base | 1 | 5 | B.2.4-7-2 | Combination | Max | 0,0784 | 0,0223 | 0,0731 | 0,028 | 0,0605 | 3,724E-05 |
| Base | 1 | 5 | B.2.4-7-2 | Combination | Min | -0,071 | -0,0349 | -0,0006 | -0,0225 | -0,057 | -4,415E-05 |
| Base | 1 | 5 | B.2.4-7-3 | Combination | Max | 0,0851 | 0,0513 | 0,074 | 0,0509 | 0,0672 | 4,728E-05 |
| Base | 1 | 5 | B.2.4-7-3 | Combination | Min | -0,0777 | -0,0639 | -0,0015 | -0,0454 | -0,0637 | -0,0001 |
| Base | 1 | 5 | B.2.4-7-4 | Combination | Max | 0,0851 | 0,0513 | 0,074 | 0,0509 | 0,0672 | 4,728E-05 |
| Base | 1 | 5 | B.2.4-7-4 | Combination | Min | -0,0777 | -0,0639 | -0,0015 | -0,0454 | -0,0637 | -0,0001 |
| Base | 1 | 5 | MAYORADA | Combination |  | 0,07 | -0,1163 | 0,4826 | 0,0487 | 0,0356 | -0,0001 |
| Base | 1 | 5 | DStlD1 | Combination |  | 0,0123 | -0,0209 | 0,1208 | 0,0091 | 0,0059 | -1,152E-05 |
| Base | 1 | 5 | DStlD2 | Combination |  | 0,0501 | -0,0836 | 0,3715 | 0,0352 | 0,0252 | -4,434E-05 |
| Base | 3 | 7 | Dead | LinStatic |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | Live | LinStatic |  | 0,0236 | 0,1021 | 0,3151 | -0,0236 | 0,0026 | -2,555E-05 |
| Base | 3 | 7 | G | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | H | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | EX | LinRespSpec | Max | 0,0776 | 0,0393 | 0,0244 | 0,0253 | 0,0445 | 0,0001 |
| Base | 3 | 7 | EY | LinRespSpec | Max | 0,0733 | 0,0907 | 0,0253 | 0,0547 | 0,0415 | 0,0001 |
| Base | 3 | 7 | Lr | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | F | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | T | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | W | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 3 | 7 | TorsionEX | LinStatic |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | TorsionEY | LinStatic |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | B.2.4-2 | Combination |  | 0,0462 | 0,1777 | 0,5587 | -0,041 | 0,0061 | -4,458E-05 |
| Base | 3 | 7 | B.2.4-1 | Combination |  | 0,0099 | 0,0167 | 0,0636 | -0,0038 | 0,0022 | -4,313E-06 |
| Base | 3 | 7 | B.2.4-3 | Combination |  | 0,0321 | 0,1164 | 0,3696 | -0,0269 | 0,0046 | -2,925E-05 |
| Base | 3 | 7 | B.2.4-4 | Combination |  | 0,0321 | 0,1164 | 0,3696 | -0,0269 | 0,0046 | -2,925E-05 |
| Base | 3 | 7 | SISMOX | Combination | Max | 0,1317 | 0,1829 | 0,4016 | 0,0149 | 0,0615 | 4,664E-05 |
| Base | 3 | 7 | SISMOX | Combination | Min | -0,0675 | 0,0499 | 0,3377 | -0,0686 | -0,0524 | -0,0001 |
| Base | 3 | 7 | SISMOY | Combination | Max | 0,1286 | 0,2189 | 0,4023 | 0,0354 | 0,0594 | 0,0001 |
| Base | 3 | 7 | SISMOY | Combination | Min | -0,0645 | 0,0139 | 0,337 | -0,0891 | -0,0503 | -0,0001 |
| Base | 3 | 7 | SERVICIO | Combination |  | 0,0307 | 0,114 | 0,3605 | -0,0263 | 0,0042 | -2,863E-05 |
| Base | 3 | 7 | B.2.3-1 | Combination |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | B.2.3-2 | Combination |  | 0,0307 | 0,114 | 0,3605 | -0,0263 | 0,0042 | -2,863E-05 |
| Base | 3 | 7 | B.2.3-3 | Combination |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | B.2.3-4 | Combination |  | 0,0248 | 0,0885 | 0,2818 | -0,0204 | 0,0036 | -2,224E-05 |
| Base | 3 | 7 | B.2.3-5 | Combination |  | 0,0071 | 0,0119 | 0,0454 | -0,0027 | 0,0016 | -3,081E-06 |
| Base | 3 | 7 | B.2.3-7 | Combination |  | 0,0248 | 0,0885 | 0,2818 | -0,0204 | 0,0036 | -2,224E-05 |
| Base | 3 | 7 | B.2.3-6-1 | Combination | Max | 0,1067 | 0,0784 | 0,0774 | 0,039 | 0,0585 | 0,0001 |
| Base | 3 | 7 | B.2.3-6-1 | Combination | Min | -0,0925 | -0,0546 | 0,0135 | -0,0444 | -0,0553 | -0,0001 |
| Base | 3 | 7 | B.2.3-6-2 | Combination | Max | 0,1067 | 0,0784 | 0,0774 | 0,039 | 0,0585 | 0,0001 |
| Base | 3 | 7 | B.2.3-6-2 | Combination | Min | -0,0925 | -0,0546 | 0,0135 | -0,0444 | -0,0553 | -0,0001 |
| Base | 3 | 7 | B.2.3-6-3 | Combination | Max | 0,1036 | 0,1144 | 0,0781 | 0,0596 | 0,0564 | 0,0001 |
| Base | 3 | 7 | B.2.3-6-3 | Combination | Min | -0,0895 | -0,0906 | 0,0128 | -0,065 | -0,0532 | -0,0001 |
| Base | 3 | 7 | B.2.3-6-4 | Combination | Max | 0,1036 | 0,1144 | 0,0781 | 0,0596 | 0,0564 | 0,0001 |
| Base | 3 | 7 | B.2.3-6-4 | Combination | Min | -0,0895 | -0,0906 | 0,0128 | -0,065 | -0,0532 | -0,0001 |
| Base | 3 | 7 | B.2.3-8-1 | Combination | Max | 0,077 | 0,1234 | 0,2985 | 0,0015 | 0,0335 | 1,76E-05 |
| Base | 3 | 7 | B.2.3-8-1 | Combination | Min | -0,0275 | 0,0536 | 0,265 | -0,0423 | -0,0263 | -0,0001 |
| Base | 3 | 7 | B.2.3-8-2 | Combination | Max | 0,077 | 0,1234 | 0,2985 | 0,0015 | 0,0335 | 1,76E-05 |
| Base | 3 | 7 | B.2.3-8-2 | Combination | Min | -0,0275 | 0,0536 | 0,265 | -0,0423 | -0,0263 | -0,0001 |
| Base | 3 | 7 | B.2.3-8-3 | Combination | Max | 0,0754 | 0,1423 | 0,2989 | 0,0123 | 0,0324 | 2,856E-05 |
| Base | 3 | 7 | B.2.3-8-3 | Combination | Min | -0,0259 | 0,0347 | 0,2646 | -0,0531 | -0,0252 | -0,0001 |
| Base | 3 | 7 | B.2.3-8-4 | Combination | Max | 0,0754 | 0,1423 | 0,2989 | 0,0123 | 0,0324 | 2,856E-05 |
| Base | 3 | 7 | B.2.3-8-4 | Combination | Min | -0,0259 | 0,0347 | 0,2646 | -0,0531 | -0,0252 | -0,0001 |
| Base | 3 | 7 | B.2.3-9 | Combination |  | 0,0042 | 0,0071 | 0,0273 | -0,0016 | 0,001 | -1,849E-06 |
| Base | 3 | 7 | B.2.3-10-1 | Combination | Max | 0,0739 | 0,0537 | 0,0496 | 0,0276 | 0,0408 | 0,0001 |
| Base | 3 | 7 | B.2.3-10-1 | Combination | Min | -0,0655 | -0,0394 | 0,0049 | -0,0308 | -0,0389 | -0,0001 |
| Base | 3 | 7 | B.2.3-10-2 | Combination | Max | 0,0739 | 0,0537 | 0,0496 | 0,0276 | 0,0408 | 0,0001 |
| Base | 3 | 7 | B.2.3-10-2 | Combination | Min | -0,0655 | -0,0394 | 0,0049 | -0,0308 | -0,0389 | -0,0001 |
| Base | 3 | 7 | B.2.3-10-3 | Combination | Max | 0,0718 | 0,0789 | 0,0501 | 0,042 | 0,0394 | 0,0001 |
| Base | 3 | 7 | B.2.3-10-3 | Combination | Min | -0,0633 | -0,0646 | 0,0044 | -0,0452 | -0,0374 | -0,0001 |
| Base | 3 | 7 | B.2.3-10-4 | Combination | Max | 0,0718 | 0,0789 | 0,0501 | 0,042 | 0,0394 | 0,0001 |
| Base | 3 | 7 | B.2.3-10-4 | Combination | Min | -0,0633 | -0,0646 | 0,0044 | -0,0452 | -0,0374 | -0,0001 |
| Base | 3 | 7 | B.2.4-5-2 | Combination | Max | 0,1317 | 0,1829 | 0,4016 | 0,0149 | 0,0615 | 4,664E-05 |
| Base | 3 | 7 | B.2.4-5-2 | Combination | Min | -0,0675 | 0,0499 | 0,3377 | -0,0686 | -0,0524 | -0,0001 |
| Base | 3 | 7 | B.2.4-5-3 | Combination | Max | 0,1286 | 0,2189 | 0,4023 | 0,0354 | 0,0594 | 0,0001 |
| Base | 3 | 7 | B.2.4-5-3 | Combination | Min | -0,0645 | 0,0139 | 0,337 | -0,0891 | -0,0503 | -0,0001 |
| Base | 3 | 7 | B.2.4-5-4 | Combination | Max | 0,1286 | 0,2189 | 0,4023 | 0,0354 | 0,0594 | 0,0001 |
| Base | 3 | 7 | B.2.4-5-4 | Combination | Min | -0,0645 | 0,0139 | 0,337 | -0,0891 | -0,0503 | -0,0001 |
| Base | 3 | 7 | B.2.4-6 | Combination |  | 0,0064 | 0,0107 | 0,0409 | -0,0024 | 0,0014 | -2,773E-06 |
| Base | 3 | 7 | B.2.4-7-1 | Combination | Max | 0,1059 | 0,0772 | 0,0729 | 0,0393 | 0,0584 | 0,0001 |
| Base | 3 | 7 | B.2.4-7-1 | Combination | Min | -0,0932 | -0,0558 | 0,0089 | -0,0442 | -0,0555 | -0,0001 |
| Base | 3 | 7 | B.2.4-7-2 | Combination | Max | 0,1059 | 0,0772 | 0,0729 | 0,0393 | 0,0584 | 0,0001 |
| Base | 3 | 7 | B.2.4-7-2 | Combination | Min | -0,0932 | -0,0558 | 0,0089 | -0,0442 | -0,0555 | -0,0001 |
| Base | 3 | 7 | B.2.4-7-3 | Combination | Max | 0,1029 | 0,1132 | 0,0735 | 0,0598 | 0,0563 | 0,0001 |
| Base | 3 | 7 | B.2.4-7-3 | Combination | Min | -0,0902 | -0,0918 | 0,0083 | -0,0647 | -0,0534 | -0,0001 |
| Base | 3 | 7 | B.2.4-7-4 | Combination | Max | 0,1029 | 0,1132 | 0,0735 | 0,0598 | 0,0563 | 0,0001 |
| Base | 3 | 7 | B.2.4-7-4 | Combination | Min | -0,0902 | -0,0918 | 0,0083 | -0,0647 | -0,0534 | -0,0001 |
| Base | 3 | 7 | MAYORADA | Combination |  | 0,05 | 0,1903 | 0,5993 | -0,0439 | 0,0067 | -4,775E-05 |
| Base | 3 | 7 | DStlD1 | Combination |  | 0,0212 | 0,0357 | 0,1363 | -0,0081 | 0,0048 | -9,243E-06 |
| Base | 3 | 7 | DStlD2 | Combination |  | 0,0448 | 0,1378 | 0,4514 | -0,0317 | 0,0074 | -3,479E-05 |
| Base | 5 | 8 | Dead | LinStatic |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | Live | LinStatic |  | 0,0125 | 0,0627 | 0,263 | -0,0023 | -0,0063 | 4,947E-06 |
| Base | 5 | 8 | G | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | H | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | EX | LinRespSpec | Max | 0,0734 | 0,1067 | 0,0375 | 0,0667 | 0,0441 | 0,0001 |
| Base | 5 | 8 | EY | LinRespSpec | Max | 0,0793 | 0,1054 | 0,0388 | 0,0658 | 0,0473 | 0,0001 |
| Base | 5 | 8 | Lr | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | F | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | T | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | W | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 5 | 8 | TorsionEX | LinStatic |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | TorsionEY | LinStatic |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | B.2.4-2 | Combination |  | 0,017 | 0,1081 | 0,4675 | -0,0041 | -0,0121 | 1,025E-05 |
| Base | 5 | 8 | B.2.4-1 | Combination |  | -0,0036 | 0,0092 | 0,0546 | -0,0005 | -0,0024 | 2,722E-06 |
| Base | 5 | 8 | B.2.4-3 | Combination |  | 0,0095 | 0,0705 | 0,3097 | -0,0027 | -0,0083 | 7,28E-06 |
| Base | 5 | 8 | B.2.4-4 | Combination |  | 0,0095 | 0,0705 | 0,3097 | -0,0027 | -0,0083 | 7,28E-06 |
| Base | 5 | 8 | SISMOX | Combination | Max | 0,1067 | 0,2088 | 0,3589 | 0,0838 | 0,0499 | 0,0001 |
| Base | 5 | 8 | SISMOX | Combination | Min | -0,0877 | -0,0678 | 0,2605 | -0,0892 | -0,0666 | -0,0001 |
| Base | 5 | 8 | SISMOY | Combination | Max | 0,1108 | 0,208 | 0,3598 | 0,0831 | 0,0522 | 0,0001 |
| Base | 5 | 8 | SISMOY | Combination | Min | -0,0918 | -0,0669 | 0,2596 | -0,0885 | -0,0689 | -0,0001 |
| Base | 5 | 8 | SERVICIO | Combination |  | 0,01 | 0,0692 | 0,3019 | -0,0026 | -0,008 | 6,891E-06 |
| Base | 5 | 8 | B.2.3-1 | Combination |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | B.2.3-2 | Combination |  | 0,01 | 0,0692 | 0,3019 | -0,0026 | -0,008 | 6,891E-06 |
| Base | 5 | 8 | B.2.3-3 | Combination |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | B.2.3-4 | Combination |  | 0,0068 | 0,0536 | 0,2362 | -0,0021 | -0,0064 | 5,655E-06 |
| Base | 5 | 8 | B.2.3-5 | Combination |  | -0,0026 | 0,0065 | 0,039 | -0,0003 | -0,0017 | 1,944E-06 |
| Base | 5 | 8 | B.2.3-7 | Combination |  | 0,0068 | 0,0536 | 0,2362 | -0,0021 | -0,0064 | 5,655E-06 |
| Base | 5 | 8 | B.2.3-6-1 | Combination | Max | 0,0946 | 0,1448 | 0,0881 | 0,0862 | 0,0566 | 0,0001 |
| Base | 5 | 8 | B.2.3-6-1 | Combination | Min | -0,0998 | -0,1318 | -0,0102 | -0,0868 | -0,06 | -0,0001 |
| Base | 5 | 8 | B.2.3-6-2 | Combination | Max | 0,0946 | 0,1448 | 0,0881 | 0,0862 | 0,0566 | 0,0001 |
| Base | 5 | 8 | B.2.3-6-2 | Combination | Min | -0,0998 | -0,1318 | -0,0102 | -0,0868 | -0,06 | -0,0001 |
| Base | 5 | 8 | B.2.3-6-3 | Combination | Max | 0,0987 | 0,144 | 0,0891 | 0,0855 | 0,0588 | 0,0001 |
| Base | 5 | 8 | B.2.3-6-3 | Combination | Min | -0,1038 | -0,1309 | -0,0111 | -0,0862 | -0,0623 | -0,0001 |
| Base | 5 | 8 | B.2.3-6-4 | Combination | Max | 0,0987 | 0,144 | 0,0891 | 0,0855 | 0,0588 | 0,0001 |
| Base | 5 | 8 | B.2.3-6-4 | Combination | Min | -0,1038 | -0,1309 | -0,0111 | -0,0862 | -0,0623 | -0,0001 |
| Base | 5 | 8 | B.2.3-8-1 | Combination | Max | 0,0579 | 0,1262 | 0,262 | 0,0433 | 0,0242 | 4,559E-05 |
| Base | 5 | 8 | B.2.3-8-1 | Combination | Min | -0,0442 | -0,0191 | 0,2104 | -0,0475 | -0,037 | -3,428E-05 |
| Base | 5 | 8 | B.2.3-8-2 | Combination | Max | 0,0579 | 0,1262 | 0,262 | 0,0433 | 0,0242 | 4,559E-05 |
| Base | 5 | 8 | B.2.3-8-2 | Combination | Min | -0,0442 | -0,0191 | 0,2104 | -0,0475 | -0,037 | -3,428E-05 |
| Base | 5 | 8 | B.2.3-8-3 | Combination | Max | 0,06 | 0,1257 | 0,2625 | 0,043 | 0,0254 | 0,0001 |
| Base | 5 | 8 | B.2.3-8-3 | Combination | Min | -0,0463 | -0,0186 | 0,2099 | -0,0471 | -0,0382 | -4,526E-05 |
| Base | 5 | 8 | B.2.3-8-4 | Combination | Max | 0,06 | 0,1257 | 0,2625 | 0,043 | 0,0254 | 0,0001 |
| Base | 5 | 8 | B.2.3-8-4 | Combination | Min | -0,0463 | -0,0186 | 0,2099 | -0,0471 | -0,0382 | -4,526E-05 |
| Base | 5 | 8 | B.2.3-9 | Combination |  | -0,0015 | 0,0039 | 0,0234 | -0,0002 | -0,001 | 1,167E-06 |
| Base | 5 | 8 | B.2.3-10-1 | Combination | Max | 0,0665 | 0,1007 | 0,0578 | 0,0603 | 0,0398 | 0,0001 |
| Base | 5 | 8 | B.2.3-10-1 | Combination | Min | -0,0696 | -0,0929 | -0,011 | -0,0607 | -0,0418 | -0,0001 |
| Base | 5 | 8 | B.2.3-10-2 | Combination | Max | 0,0665 | 0,1007 | 0,0578 | 0,0603 | 0,0398 | 0,0001 |
| Base | 5 | 8 | B.2.3-10-2 | Combination | Min | -0,0696 | -0,0929 | -0,011 | -0,0607 | -0,0418 | -0,0001 |
| Base | 5 | 8 | B.2.3-10-3 | Combination | Max | 0,0694 | 0,1001 | 0,0584 | 0,0599 | 0,0414 | 0,0001 |
| Base | 5 | 8 | B.2.3-10-3 | Combination | Min | -0,0724 | -0,0923 | -0,0117 | -0,0603 | -0,0434 | -0,0001 |
| Base | 5 | 8 | B.2.3-10-4 | Combination | Max | 0,0694 | 0,1001 | 0,0584 | 0,0599 | 0,0414 | 0,0001 |
| Base | 5 | 8 | B.2.3-10-4 | Combination | Min | -0,0724 | -0,0923 | -0,0117 | -0,0603 | -0,0434 | -0,0001 |
| Base | 5 | 8 | B.2.4-5-2 | Combination | Max | 0,1067 | 0,2088 | 0,3589 | 0,0838 | 0,0499 | 0,0001 |
| Base | 5 | 8 | B.2.4-5-2 | Combination | Min | -0,0877 | -0,0678 | 0,2605 | -0,0892 | -0,0666 | -0,0001 |
| Base | 5 | 8 | B.2.4-5-3 | Combination | Max | 0,1108 | 0,208 | 0,3598 | 0,0831 | 0,0522 | 0,0001 |
| Base | 5 | 8 | B.2.4-5-3 | Combination | Min | -0,0918 | -0,0669 | 0,2596 | -0,0885 | -0,0689 | -0,0001 |
| Base | 5 | 8 | B.2.4-5-4 | Combination | Max | 0,1108 | 0,208 | 0,3598 | 0,0831 | 0,0522 | 0,0001 |
| Base | 5 | 8 | B.2.4-5-4 | Combination | Min | -0,0918 | -0,0669 | 0,2596 | -0,0885 | -0,0689 | -0,0001 |
| Base | 5 | 8 | B.2.4-6 | Combination |  | -0,0023 | 0,0059 | 0,0351 | -0,0003 | -0,0015 | 1,75E-06 |
| Base | 5 | 8 | B.2.4-7-1 | Combination | Max | 0,0949 | 0,1442 | 0,0843 | 0,0862 | 0,0567 | 0,0001 |
| Base | 5 | 8 | B.2.4-7-1 | Combination | Min | -0,0995 | -0,1324 | -0,0141 | -0,0868 | -0,0598 | -0,0001 |
| Base | 5 | 8 | B.2.4-7-2 | Combination | Max | 0,0949 | 0,1442 | 0,0843 | 0,0862 | 0,0567 | 0,0001 |
| Base | 5 | 8 | B.2.4-7-2 | Combination | Min | -0,0995 | -0,1324 | -0,0141 | -0,0868 | -0,0598 | -0,0001 |
| Base | 5 | 8 | B.2.4-7-3 | Combination | Max | 0,099 | 0,1433 | 0,0852 | 0,0855 | 0,059 | 0,0001 |
| Base | 5 | 8 | B.2.4-7-3 | Combination | Min | -0,1036 | -0,1316 | -0,015 | -0,0861 | -0,0621 | -0,0001 |
| Base | 5 | 8 | B.2.4-7-4 | Combination | Max | 0,099 | 0,1433 | 0,0852 | 0,0855 | 0,059 | 0,0001 |
| Base | 5 | 8 | B.2.4-7-4 | Combination | Min | -0,1036 | -0,1316 | -0,015 | -0,0861 | -0,0621 | -0,0001 |
| Base | 5 | 8 | MAYORADA | Combination |  | 0,0177 | 0,1157 | 0,5016 | -0,0044 | -0,0131 | 1,113E-05 |
| Base | 5 | 8 | DStlD1 | Combination |  | -0,0077 | 0,0196 | 0,1169 | -0,001 | -0,0051 | 5,833E-06 |
| Base | 5 | 8 | DStlD2 | Combination |  | 0,0049 | 0,0823 | 0,3799 | -0,0033 | -0,0114 | 1,078E-05 |
| Base | 6 | 6 | Dead | LinStatic |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | Live | LinStatic |  | -0,0739 | -0,1021 | 0,2908 | 0,0472 | -0,03 | -1,2E-05 |
| Base | 6 | 6 | G | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | H | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | EX | LinRespSpec | Max | 0,0449 | 0,0364 | 0,018 | 0,0254 | 0,0327 | 3,487E-05 |
| Base | 6 | 6 | EY | LinRespSpec | Max | 0,0489 | 0,0396 | 0,0219 | 0,029 | 0,0364 | 0,0001 |
| Base | 6 | 6 | Lr | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | F | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | T | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | W | LinStatic |  | 0 | 0 | 0 | 0 | 0 | 0 |
| Base | 6 | 6 | TorsionEX | LinStatic |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | TorsionEY | LinStatic |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | B.2.4-2 | Combination |  | -0,1286 | -0,1772 | 0,5197 | 0,0819 | -0,0522 | -1,975E-05 |
| Base | 6 | 6 | B.2.4-1 | Combination |  | -0,0121 | -0,0161 | 0,0634 | 0,0074 | -0,005 | -6,553E-07 |
| Base | 6 | 6 | B.2.4-3 | Combination |  | -0,0842 | -0,1159 | 0,3452 | 0,0536 | -0,0343 | -1,256E-05 |
| Base | 6 | 6 | B.2.4-4 | Combination |  | -0,0842 | -0,1159 | 0,3452 | 0,0536 | -0,0343 | -1,256E-05 |
| Base | 6 | 6 | SISMOX | Combination | Max | -0,0247 | -0,0676 | 0,3697 | 0,0877 | 0,0094 | 3,799E-05 |
| Base | 6 | 6 | SISMOX | Combination | Min | -0,1438 | -0,1642 | 0,3207 | 0,0194 | -0,0779 | -0,0001 |
| Base | 6 | 6 | SISMOY | Combination | Max | -0,0218 | -0,0653 | 0,3725 | 0,0903 | 0,0119 | 0,0001 |
| Base | 6 | 6 | SISMOY | Combination | Min | -0,1466 | -0,1665 | 0,3179 | 0,0169 | -0,0804 | -0,0001 |
| Base | 6 | 6 | SERVICIO | Combination |  | -0,0825 | -0,1136 | 0,3361 | 0,0525 | -0,0335 | -1,246E-05 |
| Base | 6 | 6 | B.2.3-1 | Combination |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | B.2.3-2 | Combination |  | -0,0825 | -0,1136 | 0,3361 | 0,0525 | -0,0335 | -1,246E-05 |
| Base | 6 | 6 | B.2.3-3 | Combination |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | B.2.3-4 | Combination |  | -0,064 | -0,0881 | 0,2634 | 0,0407 | -0,026 | -9,465E-06 |
| Base | 6 | 6 | B.2.3-5 | Combination |  | -0,0086 | -0,0115 | 0,0453 | 0,0053 | -0,0036 | 0 |
| Base | 6 | 6 | B.2.3-7 | Combination |  | -0,064 | -0,0881 | 0,2634 | 0,0407 | -0,026 | -9,465E-06 |
| Base | 6 | 6 | B.2.3-6-1 | Combination | Max | 0,0509 | 0,0368 | 0,0699 | 0,0394 | 0,0401 | 0,0001 |
| Base | 6 | 6 | B.2.3-6-1 | Combination | Min | -0,0681 | -0,0598 | 0,0208 | -0,0289 | -0,0472 | -0,0001 |
| Base | 6 | 6 | B.2.3-6-2 | Combination | Max | 0,0509 | 0,0368 | 0,0699 | 0,0394 | 0,0401 | 0,0001 |
| Base | 6 | 6 | B.2.3-6-2 | Combination | Min | -0,0681 | -0,0598 | 0,0208 | -0,0289 | -0,0472 | -0,0001 |
| Base | 6 | 6 | B.2.3-6-3 | Combination | Max | 0,0538 | 0,0391 | 0,0726 | 0,042 | 0,0426 | 0,0001 |
| Base | 6 | 6 | B.2.3-6-3 | Combination | Min | -0,071 | -0,062 | 0,018 | -0,0314 | -0,0497 | -0,0001 |
| Base | 6 | 6 | B.2.3-6-4 | Combination | Max | 0,0538 | 0,0391 | 0,0726 | 0,042 | 0,0426 | 0,0001 |
| Base | 6 | 6 | B.2.3-6-4 | Combination | Min | -0,071 | -0,062 | 0,018 | -0,0314 | -0,0497 | -0,0001 |
| Base | 6 | 6 | B.2.3-8-1 | Combination | Max | -0,0328 | -0,0627 | 0,2763 | 0,0587 | -0,0031 | 1,707E-05 |
| Base | 6 | 6 | B.2.3-8-1 | Combination | Min | -0,0953 | -0,1134 | 0,2505 | 0,0228 | -0,049 | -3,6E-05 |
| Base | 6 | 6 | B.2.3-8-2 | Combination | Max | -0,0328 | -0,0627 | 0,2763 | 0,0587 | -0,0031 | 1,707E-05 |
| Base | 6 | 6 | B.2.3-8-2 | Combination | Min | -0,0953 | -0,1134 | 0,2505 | 0,0228 | -0,049 | -3,6E-05 |
| Base | 6 | 6 | B.2.3-8-3 | Combination | Max | -0,0313 | -0,0615 | 0,2778 | 0,06 | -0,0018 | 2,346E-05 |
| Base | 6 | 6 | B.2.3-8-3 | Combination | Min | -0,0968 | -0,1146 | 0,2491 | 0,0215 | -0,0503 | -4,239E-05 |
| Base | 6 | 6 | B.2.3-8-4 | Combination | Max | -0,0313 | -0,0615 | 0,2778 | 0,06 | -0,0018 | 2,346E-05 |
| Base | 6 | 6 | B.2.3-8-4 | Combination | Min | -0,0968 | -0,1146 | 0,2491 | 0,0215 | -0,0503 | -4,239E-05 |
| Base | 6 | 6 | B.2.3-9 | Combination |  | -0,0052 | -0,0069 | 0,0272 | 0,0032 | -0,0021 | 0 |
| Base | 6 | 6 | B.2.3-10-1 | Combination | Max | 0,0365 | 0,0269 | 0,0444 | 0,0271 | 0,0284 | 3,51E-05 |
| Base | 6 | 6 | B.2.3-10-1 | Combination | Min | -0,0468 | -0,0407 | 0,01 | -0,0207 | -0,0327 | -3,566E-05 |
| Base | 6 | 6 | B.2.3-10-2 | Combination | Max | 0,0365 | 0,0269 | 0,0444 | 0,0271 | 0,0284 | 3,51E-05 |
| Base | 6 | 6 | B.2.3-10-2 | Combination | Min | -0,0468 | -0,0407 | 0,01 | -0,0207 | -0,0327 | -3,566E-05 |
| Base | 6 | 6 | B.2.3-10-3 | Combination | Max | 0,0385 | 0,0285 | 0,0463 | 0,0288 | 0,0302 | 4,362E-05 |
| Base | 6 | 6 | B.2.3-10-3 | Combination | Min | -0,0488 | -0,0423 | 0,0081 | -0,0225 | -0,0345 | -4,419E-05 |
| Base | 6 | 6 | B.2.3-10-4 | Combination | Max | 0,0385 | 0,0285 | 0,0463 | 0,0288 | 0,0302 | 4,362E-05 |
| Base | 6 | 6 | B.2.3-10-4 | Combination | Min | -0,0488 | -0,0423 | 0,0081 | -0,0225 | -0,0345 | -4,419E-05 |
| Base | 6 | 6 | B.2.4-5-2 | Combination | Max | -0,0247 | -0,0676 | 0,3697 | 0,0877 | 0,0094 | 3,799E-05 |
| Base | 6 | 6 | B.2.4-5-2 | Combination | Min | -0,1438 | -0,1642 | 0,3207 | 0,0194 | -0,0779 | -0,0001 |
| Base | 6 | 6 | B.2.4-5-3 | Combination | Max | -0,0218 | -0,0653 | 0,3725 | 0,0903 | 0,0119 | 0,0001 |
| Base | 6 | 6 | B.2.4-5-3 | Combination | Min | -0,1466 | -0,1665 | 0,3179 | 0,0169 | -0,0804 | -0,0001 |
| Base | 6 | 6 | B.2.4-5-4 | Combination | Max | -0,0218 | -0,0653 | 0,3725 | 0,0903 | 0,0119 | 0,0001 |
| Base | 6 | 6 | B.2.4-5-4 | Combination | Min | -0,1466 | -0,1665 | 0,3179 | 0,0169 | -0,0804 | -0,0001 |
| Base | 6 | 6 | B.2.4-6 | Combination |  | -0,0078 | -0,0103 | 0,0408 | 0,0048 | -0,0032 | 0 |
| Base | 6 | 6 | B.2.4-7-1 | Combination | Max | 0,0518 | 0,038 | 0,0653 | 0,0389 | 0,0405 | 0,0001 |
| Base | 6 | 6 | B.2.4-7-1 | Combination | Min | -0,0673 | -0,0586 | 0,0162 | -0,0294 | -0,0469 | -0,0001 |
| Base | 6 | 6 | B.2.4-7-2 | Combination | Max | 0,0518 | 0,038 | 0,0653 | 0,0389 | 0,0405 | 0,0001 |
| Base | 6 | 6 | B.2.4-7-2 | Combination | Min | -0,0673 | -0,0586 | 0,0162 | -0,0294 | -0,0469 | -0,0001 |
| Base | 6 | 6 | B.2.4-7-3 | Combination | Max | 0,0546 | 0,0403 | 0,0681 | 0,0414 | 0,043 | 0,0001 |
| Base | 6 | 6 | B.2.4-7-3 | Combination | Min | -0,0701 | -0,0609 | 0,0135 | -0,0319 | -0,0494 | -0,0001 |
| Base | 6 | 6 | B.2.4-7-4 | Combination | Max | 0,0546 | 0,0403 | 0,0681 | 0,0414 | 0,043 | 0,0001 |
| Base | 6 | 6 | B.2.4-7-4 | Combination | Min | -0,0701 | -0,0609 | 0,0135 | -0,0319 | -0,0494 | -0,0001 |
| Base | 6 | 6 | MAYORADA | Combination |  | -0,1377 | -0,1897 | 0,5578 | 0,0877 | -0,056 | -2,105E-05 |
| Base | 6 | 6 | DStlD1 | Combination |  | -0,0258 | -0,0344 | 0,1359 | 0,0159 | -0,0107 | -1,404E-06 |
| Base | 6 | 6 | DStlD2 | Combination |  | -0,0997 | -0,1365 | 0,4268 | 0,0631 | -0,0407 | -1,34E-05 |

## 5.4 Area Results

Table 5.5 - Element Joint Forces - Shells (Part 1 of 2)

| Story | Shell Object | Unique Name | Shell Element | Joint | Output Case | Case Type | Step Type | F1 tonf | F2 tonf | F3 tonf |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N. +1.26 | F3 | 1 | 1 | 4 | Dead | LinStatic |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | Dead | LinStatic |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | Dead | LinStatic |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | Dead | LinStatic |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | Live | LinStatic |  | -0,0574 | -0,0719 | -0,01 |
| N. +1.26 | F3 | 1 | 1 | 1 | Live | LinStatic |  | 0,0186 | -0,0405 | -0,0056 |
| N. +1.26 | F3 | 1 | 1 | 2 | Live | LinStatic |  | 0,0314 | 0,0802 | 0,0111 |
| N. +1.26 | F3 | 1 | 1 | 3 | Live | LinStatic |  | 0,0074 | 0,0321 | 0,0044 |
| N. +1.26 | F3 | 1 | 1 | 4 | G | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | G | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | G | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | G | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | H | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | H | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | H | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | H | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | EX | LinRespSpec | Max | 0,0243 | 0,0238 | 0,0033 |
| N. +1.26 | F3 | 1 | 1 | 1 | EX | LinRespSpec | Max | 0,011 | 0,0354 | 0,0049 |
| N. +1.26 | F3 | 1 | 1 | 2 | EX | LinRespSpec | Max | 0,0206 | 0,0276 | 0,0038 |
| N. +1.26 | F3 | 1 | 1 | 3 | EX | LinRespSpec | Max | 0,0137 | 0,039 | 0,0054 |
| N. +1.26 | F3 | 1 | 1 | 4 | EY | LinRespSpec | Max | 0,0244 | 0,0234 | 0,0032 |
| N. +1.26 | F3 | 1 | 1 | 1 | EY | LinRespSpec | Max | 0,0184 | 0,0348 | 0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | EY | LinRespSpec | Max | 0,0201 | 0,0263 | 0,0036 |
| N. +1.26 | F3 | 1 | 1 | 3 | EY | LinRespSpec | Max | 0,0171 | 0,0383 | 0,0053 |
| N. +1.26 | F3 | 1 | 1 | 4 | Lr | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | Lr | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | Lr | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | Lr | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | F | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | F | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | F | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | F | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | T | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | T | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | T | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | T | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | W | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | W | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | W | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | W | LinStatic |  | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | TorsionEX | LinStatic |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | TorsionEX | LinStatic |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | TorsionEX | LinStatic |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | TorsionEX | LinStatic |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | TorsionEY | LinStatic |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | TorsionEY | LinStatic |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | TorsionEY | LinStatic |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | TorsionEY | LinStatic |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-2 | Combination |  | -0,1006 | -0,1249 | -0,0173 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-2 | Combination |  | 0,0327 | -0,0702 | -0,0097 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-2 | Combination |  | 0,0575 | 0,1397 | 0,0193 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-2 | Combination |  | 0,0103 | 0,0553 | 0,0077 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-1 | Combination |  | -0,0102 | -0,0115 | -0,0016 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-1 | Combination |  | 0,0035 | -0,0063 | -0,0009 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-1 | Combination |  | 0,0085 | 0,0132 | 0,0018 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-1 | Combination |  | -0,0018 | 0,0046 | 0,0006 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-3 | Combination |  | -0,0661 | -0,0818 | -0,0113 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-3 | Combination |  | 0,0216 | -0,0459 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-3 | Combination |  | 0,0387 | 0,0916 | 0,0127 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-3 | Combination |  | 0,0059 | 0,0361 | 0,005 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-4 | Combination |  | -0,0661 | -0,0818 | -0,0113 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-4 | Combination |  | 0,0216 | -0,0459 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-4 | Combination |  | 0,0387 | 0,0916 | 0,0127 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-4 | Combination |  | 0,0059 | 0,0361 | 0,005 |
| N. +1.26 | F3 | 1 | 1 | 4 | SISMOX | Combination | Max | -0,0345 | -0,0509 | -0,0071 |
| N. +1.26 | F3 | 1 | 1 | 1 | SISMOX | Combination | Max | 0,0381 | -1,62E-05 | -2,243E-06 |
| N. +1.26 | F3 | 1 | 1 | 2 | SISMOX | Combination | Max | 0,0653 | 0,1271 | 0,0176 |
| N. +1.26 | F3 | 1 | 1 | 3 | SISMOX | Combination | Max | 0,0247 | 0,0865 | 0,012 |
| N. +1.26 | F3 | 1 | 1 | 4 | SISMOX | Combination | Min | -0,0978 | -0,1126 | -0,0156 |
| N. +1.26 | F3 | 1 | 1 | 1 | SISMOX | Combination | Min | 0,0051 | -0,0918 | -0,0127 |
| N. +1.26 | F3 | 1 | 1 | 2 | SISMOX | Combination | Min | 0,0121 | 0,0561 | 0,0078 |
| N. +1.26 | F3 | 1 | 1 | 3 | SISMOX | Combination | Min | -0,013 | -0,0144 | -0,002 |
| N. +1.26 | F3 | 1 | 1 | 4 | SISMOY | Combination | Max | -0,0345 | -0,0512 | -0,0071 |
| N. +1.26 | F3 | 1 | 1 | 1 | SISMOY | Combination | Max | 0,0432 | -0,0005 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 2 | SISMOY | Combination | Max | 0,065 | 0,1262 | 0,0175 |
| N. +1.26 | F3 | 1 | 1 | 3 | SISMOY | Combination | Max | 0,0271 | 0,086 | 0,0119 |
| N. +1.26 | F3 | 1 | 1 | 4 | SISMOY | Combination | Min | -0,0978 | -0,1123 | -0,0155 |
| N. +1.26 | F3 | 1 | 1 | 1 | SISMOY | Combination | Min | -0,0001 | -0,0913 | -0,0126 |
| N. +1.26 | F3 | 1 | 1 | 2 | SISMOY | Combination | Min | 0,0124 | 0,057 | 0,0079 |
| N. +1.26 | F3 | 1 | 1 | 3 | SISMOY | Combination | Min | -0,0154 | -0,0139 | -0,0019 |
| N. +1.26 | F3 | 1 | 1 | 4 | SERVICIO | Combination |  | -0,0647 | -0,0801 | -0,0111 |
| N. +1.26 | F3 | 1 | 1 | 1 | SERVICIO | Combination |  | 0,0211 | -0,045 | -0,0062 |
| N. +1.26 | F3 | 1 | 1 | 2 | SERVICIO | Combination |  | 0,0375 | 0,0897 | 0,0124 |
| N. +1.26 | F3 | 1 | 1 | 3 | SERVICIO | Combination |  | 0,0061 | 0,0354 | 0,0049 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-1 | Combination |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-1 | Combination |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-1 | Combination |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-1 | Combination |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-2 | Combination |  | -0,0647 | -0,0801 | -0,0111 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-2 | Combination |  | 0,0211 | -0,045 | -0,0062 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-2 | Combination |  | 0,0375 | 0,0897 | 0,0124 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-2 | Combination |  | 0,0061 | 0,0354 | 0,0049 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-3 | Combination |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-3 | Combination |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-3 | Combination |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-3 | Combination |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-4 | Combination |  | -0,0503 | -0,0621 | -0,0086 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-4 | Combination |  | 0,0164 | -0,0349 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-4 | Combination |  | 0,0296 | 0,0696 | 0,0096 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-4 | Combination |  | 0,0043 | 0,0274 | 0,0038 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-5 | Combination |  | -0,0073 | -0,0082 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-5 | Combination |  | 0,0025 | -0,0045 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-5 | Combination |  | 0,0061 | 0,0095 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-5 | Combination |  | -0,0013 | 0,0033 | 0,0005 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-7 | Combination |  | -0,0503 | -0,0621 | -0,0086 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-7 | Combination |  | 0,0164 | -0,0349 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-7 | Combination |  | 0,0296 | 0,0696 | 0,0096 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-7 | Combination |  | 0,0043 | 0,0274 | 0,0038 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-1 | Combination | Max | 0,0244 | 0,0226 | 0,0031 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-1 | Combination | Max | 0,019 | 0,0414 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-1 | Combination | Max | 0,0327 | 0,045 | 0,0062 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-1 | Combination | Max | 0,0176 | 0,0538 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-1 | Combination | Min | -0,039 | -0,0391 | -0,0054 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-1 | Combination | Min | -0,014 | -0,0504 | -0,007 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-1 | Combination | Min | -0,0206 | -0,0261 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-1 | Combination | Min | -0,0201 | -0,0472 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-2 | Combination | Max | 0,0244 | 0,0226 | 0,0031 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-2 | Combination | Max | 0,019 | 0,0414 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-2 | Combination | Max | 0,0327 | 0,045 | 0,0062 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-2 | Combination | Max | 0,0176 | 0,0538 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-2 | Combination | Min | -0,039 | -0,0391 | -0,0054 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-2 | Combination | Min | -0,014 | -0,0504 | -0,007 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-2 | Combination | Min | -0,0206 | -0,0261 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-2 | Combination | Min | -0,0201 | -0,0472 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-3 | Combination | Max | 0,0244 | 0,0223 | 0,0031 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-3 | Combination | Max | 0,0241 | 0,0409 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-3 | Combination | Max | 0,0324 | 0,0441 | 0,0061 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-3 | Combination | Max | 0,02 | 0,0533 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-3 | Combination | Min | -0,039 | -0,0388 | -0,0054 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-3 | Combination | Min | -0,0192 | -0,0499 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-3 | Combination | Min | -0,0202 | -0,0252 | -0,0035 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-3 | Combination | Min | -0,0225 | -0,0467 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-4 | Combination | Max | 0,0244 | 0,0223 | 0,0031 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-4 | Combination | Max | 0,0241 | 0,0409 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-4 | Combination | Max | 0,0324 | 0,0441 | 0,0061 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-4 | Combination | Max | 0,02 | 0,0533 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-6-4 | Combination | Min | -0,039 | -0,0388 | -0,0054 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-6-4 | Combination | Min | -0,0192 | -0,0499 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-6-4 | Combination | Min | -0,0202 | -0,0252 | -0,0035 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-6-4 | Combination | Min | -0,0225 | -0,0467 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-1 | Combination | Max | -0,0337 | -0,046 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-1 | Combination | Max | 0,0251 | -0,0108 | -0,0015 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-1 | Combination | Max | 0,0436 | 0,0883 | 0,0122 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-1 | Combination | Max | 0,0142 | 0,0539 | 0,0075 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-1 | Combination | Min | -0,067 | -0,0783 | -0,0108 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-1 | Combination | Min | 0,0078 | -0,059 | -0,0082 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-1 | Combination | Min | 0,0156 | 0,051 | 0,0071 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-1 | Combination | Min | -0,0056 | 0,0009 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-2 | Combination | Max | -0,0337 | -0,046 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-2 | Combination | Max | 0,0251 | -0,0108 | -0,0015 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-2 | Combination | Max | 0,0436 | 0,0883 | 0,0122 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-2 | Combination | Max | 0,0142 | 0,0539 | 0,0075 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-2 | Combination | Min | -0,067 | -0,0783 | -0,0108 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-2 | Combination | Min | 0,0078 | -0,059 | -0,0082 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-2 | Combination | Min | 0,0156 | 0,051 | 0,0071 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-2 | Combination | Min | -0,0056 | 0,0009 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-3 | Combination | Max | -0,0337 | -0,0461 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-3 | Combination | Max | 0,0278 | -0,011 | -0,0015 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-3 | Combination | Max | 0,0435 | 0,0878 | 0,0122 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-3 | Combination | Max | 0,0154 | 0,0536 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-3 | Combination | Min | -0,067 | -0,0782 | -0,0108 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-3 | Combination | Min | 0,0051 | -0,0587 | -0,0081 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-3 | Combination | Min | 0,0158 | 0,0515 | 0,0071 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-3 | Combination | Min | -0,0069 | 0,0011 | 0,0002 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-4 | Combination | Max | -0,0337 | -0,0461 | -0,0064 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-4 | Combination | Max | 0,0278 | -0,011 | -0,0015 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-4 | Combination | Max | 0,0435 | 0,0878 | 0,0122 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-4 | Combination | Max | 0,0154 | 0,0536 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-8-4 | Combination | Min | -0,067 | -0,0782 | -0,0108 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-8-4 | Combination | Min | 0,0051 | -0,0587 | -0,0081 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-8-4 | Combination | Min | 0,0158 | 0,0515 | 0,0071 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-8-4 | Combination | Min | -0,0069 | 0,0011 | 0,0002 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-9 | Combination |  | -0,0044 | -0,0049 | -0,0007 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-9 | Combination |  | 0,0015 | -0,0027 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-9 | Combination |  | 0,0037 | 0,0057 | 0,0008 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-9 | Combination |  | -0,0008 | 0,002 | 0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-1 | Combination | Max | 0,0178 | 0,0166 | 0,0023 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-1 | Combination | Max | 0,013 | 0,0294 | 0,0041 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-1 | Combination | Max | 0,0223 | 0,0305 | 0,0042 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-1 | Combination | Max | 0,0125 | 0,0373 | 0,0052 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-1 | Combination | Min | -0,0265 | -0,0265 | -0,0037 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-1 | Combination | Min | -0,0101 | -0,0348 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-1 | Combination | Min | -0,015 | -0,0192 | -0,0027 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-1 | Combination | Min | -0,014 | -0,0334 | -0,0046 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-2 | Combination | Max | 0,0178 | 0,0166 | 0,0023 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-2 | Combination | Max | 0,013 | 0,0294 | 0,0041 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-2 | Combination | Max | 0,0223 | 0,0305 | 0,0042 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-2 | Combination | Max | 0,0125 | 0,0373 | 0,0052 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-2 | Combination | Min | -0,0265 | -0,0265 | -0,0037 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-2 | Combination | Min | -0,0101 | -0,0348 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-2 | Combination | Min | -0,015 | -0,0192 | -0,0027 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-2 | Combination | Min | -0,014 | -0,0334 | -0,0046 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-3 | Combination | Max | 0,0178 | 0,0164 | 0,0023 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-3 | Combination | Max | 0,0166 | 0,0291 | 0,004 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-3 | Combination | Max | 0,0221 | 0,0299 | 0,0041 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-3 | Combination | Max | 0,0141 | 0,0369 | 0,0051 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-3 | Combination | Min | -0,0266 | -0,0263 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-3 | Combination | Min | -0,0137 | -0,0345 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-3 | Combination | Min | -0,0148 | -0,0186 | -0,0026 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-3 | Combination | Min | -0,0156 | -0,033 | -0,0046 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-4 | Combination | Max | 0,0178 | 0,0164 | 0,0023 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-4 | Combination | Max | 0,0166 | 0,0291 | 0,004 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-4 | Combination | Max | 0,0221 | 0,0299 | 0,0041 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-4 | Combination | Max | 0,0141 | 0,0369 | 0,0051 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.3-10-4 | Combination | Min | -0,0266 | -0,0263 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.3-10-4 | Combination | Min | -0,0137 | -0,0345 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.3-10-4 | Combination | Min | -0,0148 | -0,0186 | -0,0026 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.3-10-4 | Combination | Min | -0,0156 | -0,033 | -0,0046 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-2 | Combination | Max | -0,0345 | -0,0509 | -0,0071 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-2 | Combination | Max | 0,0381 | -1,62E-05 | -2,243E-06 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-2 | Combination | Max | 0,0653 | 0,1271 | 0,0176 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-2 | Combination | Max | 0,0247 | 0,0865 | 0,012 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-2 | Combination | Min | -0,0978 | -0,1126 | -0,0156 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-2 | Combination | Min | 0,0051 | -0,0918 | -0,0127 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-2 | Combination | Min | 0,0121 | 0,0561 | 0,0078 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-2 | Combination | Min | -0,013 | -0,0144 | -0,002 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-3 | Combination | Max | -0,0345 | -0,0512 | -0,0071 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-3 | Combination | Max | 0,0432 | -0,0005 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-3 | Combination | Max | 0,065 | 0,1262 | 0,0175 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-3 | Combination | Max | 0,0271 | 0,086 | 0,0119 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-3 | Combination | Min | -0,0978 | -0,1123 | -0,0155 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-3 | Combination | Min | -0,0001 | -0,0913 | -0,0126 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-3 | Combination | Min | 0,0124 | 0,057 | 0,0079 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-3 | Combination | Min | -0,0154 | -0,0139 | -0,0019 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-4 | Combination | Max | -0,0345 | -0,0512 | -0,0071 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-4 | Combination | Max | 0,0432 | -0,0005 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-4 | Combination | Max | 0,065 | 0,1262 | 0,0175 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-4 | Combination | Max | 0,0271 | 0,086 | 0,0119 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-5-4 | Combination | Min | -0,0978 | -0,1123 | -0,0155 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-5-4 | Combination | Min | -0,0001 | -0,0913 | -0,0126 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-5-4 | Combination | Min | 0,0124 | 0,057 | 0,0079 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-5-4 | Combination | Min | -0,0154 | -0,0139 | -0,0019 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-6 | Combination |  | -0,0066 | -0,0074 | -0,001 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-6 | Combination |  | 0,0022 | -0,0041 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-6 | Combination |  | 0,0055 | 0,0085 | 0,0012 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-6 | Combination |  | -0,0011 | 0,003 | 0,0004 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-1 | Combination | Max | 0,0251 | 0,0234 | 0,0032 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-1 | Combination | Max | 0,0187 | 0,0418 | 0,0058 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-1 | Combination | Max | 0,0321 | 0,044 | 0,0061 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-1 | Combination | Max | 0,0177 | 0,0534 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-1 | Combination | Min | -0,0382 | -0,0382 | -0,0053 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-1 | Combination | Min | -0,0143 | -0,0499 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-1 | Combination | Min | -0,0212 | -0,027 | -0,0037 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-1 | Combination | Min | -0,02 | -0,0475 | -0,0066 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-2 | Combination | Max | 0,0251 | 0,0234 | 0,0032 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-2 | Combination | Max | 0,0187 | 0,0418 | 0,0058 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-2 | Combination | Max | 0,0321 | 0,044 | 0,0061 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-2 | Combination | Max | 0,0177 | 0,0534 | 0,0074 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-2 | Combination | Min | -0,0382 | -0,0382 | -0,0053 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-2 | Combination | Min | -0,0143 | -0,0499 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-2 | Combination | Min | -0,0212 | -0,027 | -0,0037 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-2 | Combination | Min | -0,02 | -0,0475 | -0,0066 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-3 | Combination | Max | 0,0251 | 0,0231 | 0,0032 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-3 | Combination | Max | 0,0239 | 0,0414 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-3 | Combination | Max | 0,0318 | 0,0431 | 0,006 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-3 | Combination | Max | 0,0201 | 0,0529 | 0,0073 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-3 | Combination | Min | -0,0382 | -0,0379 | -0,0053 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-3 | Combination | Min | -0,0194 | -0,0495 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-3 | Combination | Min | -0,0209 | -0,0261 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-3 | Combination | Min | -0,0224 | -0,047 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-4 | Combination | Max | 0,0251 | 0,0231 | 0,0032 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-4 | Combination | Max | 0,0239 | 0,0414 | 0,0057 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-4 | Combination | Max | 0,0318 | 0,0431 | 0,006 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-4 | Combination | Max | 0,0201 | 0,0529 | 0,0073 |
| N. +1.26 | F3 | 1 | 1 | 4 | B.2.4-7-4 | Combination | Min | -0,0382 | -0,0379 | -0,0053 |
| N. +1.26 | F3 | 1 | 1 | 1 | B.2.4-7-4 | Combination | Min | -0,0194 | -0,0495 | -0,0069 |
| N. +1.26 | F3 | 1 | 1 | 2 | B.2.4-7-4 | Combination | Min | -0,0209 | -0,0261 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 3 | B.2.4-7-4 | Combination | Min | -0,0224 | -0,047 | -0,0065 |
| N. +1.26 | F3 | 1 | 1 | 4 | MAYORADA | Combination |  | -0,1078 | -0,1337 | -0,0185 |
| N. +1.26 | F3 | 1 | 1 | 1 | MAYORADA | Combination |  | 0,0351 | -0,0751 | -0,0104 |
| N. +1.26 | F3 | 1 | 1 | 2 | MAYORADA | Combination |  | 0,0619 | 0,1497 | 0,0207 |
| N. +1.26 | F3 | 1 | 1 | 3 | MAYORADA | Combination |  | 0,0108 | 0,0592 | 0,0082 |
| N. +1.26 | F3 | 1 | 1 | 4 | DStlD1 | Combination |  | -0,0219 | -0,0247 | -0,0034 |
| N. +1.26 | F3 | 1 | 1 | 1 | DStlD1 | Combination |  | 0,0074 | -0,0136 | -0,0019 |
| N. +1.26 | F3 | 1 | 1 | 2 | DStlD1 | Combination |  | 0,0183 | 0,0284 | 0,0039 |
| N. +1.26 | F3 | 1 | 1 | 3 | DStlD1 | Combination |  | -0,0038 | 0,0099 | 0,0014 |
| N. +1.26 | F3 | 1 | 1 | 4 | DStlD2 | Combination |  | -0,0793 | -0,0966 | -0,0134 |
| N. +1.26 | F3 | 1 | 1 | 1 | DStlD2 | Combination |  | 0,026 | -0,054 | -0,0075 |
| N. +1.26 | F3 | 1 | 1 | 2 | DStlD2 | Combination |  | 0,0496 | 0,1086 | 0,015 |
| N. +1.26 | F3 | 1 | 1 | 3 | DStlD2 | Combination |  | 0,0036 | 0,042 | 0,0058 |

Table 5.5 - Element Joint Forces - Shells (Part 2 of 2)

| Story | Shell Object | Unique Name | Shell Element | Joint | M1 tonf-m | M2 tonf-m | M3 tonf-m |
| --- | --- | --- | --- | --- | --- | --- | --- |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0004 | -0,0029 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0017 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0006 | -0,0045 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0015 | 0,0107 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0022 | 0,0157 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0022 | 0,0162 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0028 | 0,0202 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,002 | 0,0142 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0037 | 0,0269 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0024 | 0,0172 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0028 | 0,0199 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0 | 0 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0007 | -0,0051 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0004 | 0,0028 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,001 | -0,0075 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 2,194E-05 | -0,0002 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0006 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -9,92E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 4,894E-05 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0007 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0005 | -0,0034 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0018 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0007 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0007 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0005 | -0,0034 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0018 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0007 | -0,0048 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0022 | 0,0142 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0038 | 0,0204 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0027 | 0,0232 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0043 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,002 | -0,0157 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0028 | -0,0272 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0032 | -0,0196 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,003 | -0,0309 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0025 | 0,0167 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0049 | 0,0283 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0028 | 0,0238 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0043 | 0,0211 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0023 | -0,0181 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0039 | -0,0351 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0033 | -0,0202 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0029 | -0,0307 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0007 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0005 | -0,0033 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0018 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0007 | -0,0047 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0007 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0005 | -0,0033 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0018 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0007 | -0,0047 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0005 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0004 | -0,0026 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0005 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,567E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -7,085E-06 | 0,0001 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,495E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0005 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0004 | -0,0026 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0002 | 0,0013 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0005 | -0,0036 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0021 | 0,0148 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0034 | 0,0234 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0037 | 0,0259 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0021 | -0,0151 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0032 | -0,0243 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,003 | -0,0213 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0264 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0021 | 0,0148 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0034 | 0,0234 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0037 | 0,0259 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0021 | -0,0151 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0032 | -0,0243 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,003 | -0,0213 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0264 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0024 | 0,0173 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0044 | 0,0312 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0221 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0036 | 0,0257 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0024 | -0,0175 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0043 | -0,0321 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0031 | -0,022 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0262 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0024 | 0,0173 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0044 | 0,0312 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0221 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0036 | 0,0257 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0024 | -0,0175 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0043 | -0,0321 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0031 | -0,022 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0262 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0012 | 0,0073 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0021 | 0,0099 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0014 | 0,0126 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0024 | 0,0101 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,001 | -0,0084 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0014 | -0,0151 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0017 | -0,0099 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0014 | -0,0173 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0012 | 0,0073 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0021 | 0,0099 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0014 | 0,0126 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0024 | 0,0101 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,001 | -0,0084 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0014 | -0,0151 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0017 | -0,0099 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0014 | -0,0173 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0013 | 0,0086 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0027 | 0,014 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0014 | 0,0129 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0024 | 0,01 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0012 | -0,0097 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0019 | -0,0192 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0018 | -0,0102 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0014 | -0,0172 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0013 | 0,0086 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0027 | 0,014 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0014 | 0,0129 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0024 | 0,01 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0012 | -0,0097 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0019 | -0,0192 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0018 | -0,0102 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0014 | -0,0172 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 9,402E-06 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 3,635E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -4,251E-06 | 3,07E-05 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 2,097E-05 | -0,0002 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0015 | 0,0104 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0023 | 0,0164 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0021 | 0,015 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0026 | 0,0182 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0014 | -0,0105 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0023 | -0,0169 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0021 | -0,0149 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0025 | -0,0185 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0015 | 0,0104 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0023 | 0,0164 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0021 | 0,015 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0026 | 0,0182 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0014 | -0,0105 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0023 | -0,0169 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0021 | -0,0149 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0025 | -0,0185 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0017 | 0,0121 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0031 | 0,0219 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0021 | 0,0155 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0025 | 0,018 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0017 | -0,0122 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,003 | -0,0224 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0021 | -0,0154 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0025 | -0,0183 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0017 | 0,0121 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0031 | 0,0219 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0021 | 0,0155 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0025 | 0,018 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0017 | -0,0122 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,003 | -0,0224 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0021 | -0,0154 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0025 | -0,0183 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0022 | 0,0142 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0038 | 0,0204 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0027 | 0,0232 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0043 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,002 | -0,0157 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0028 | -0,0272 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0032 | -0,0196 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,003 | -0,0309 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0025 | 0,0167 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0049 | 0,0283 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0028 | 0,0238 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0043 | 0,0211 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0023 | -0,0181 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0039 | -0,0351 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0033 | -0,0202 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0029 | -0,0307 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0025 | 0,0167 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0049 | 0,0283 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,0028 | 0,0238 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0043 | 0,0211 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0023 | -0,0181 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0039 | -0,0351 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0033 | -0,0202 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0029 | -0,0307 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 1,41E-05 | -0,0001 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0001 | -0,0004 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -6,377E-06 | 4,606E-05 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 3,146E-05 | -0,0002 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0021 | 0,0148 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0034 | 0,0234 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0037 | 0,0259 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0021 | -0,015 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0032 | -0,0242 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,003 | -0,0213 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0264 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0021 | 0,0148 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0034 | 0,0234 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0214 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0037 | 0,0259 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0021 | -0,015 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0032 | -0,0242 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,003 | -0,0213 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0264 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0024 | 0,0173 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0044 | 0,0313 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0221 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0036 | 0,0257 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0024 | -0,0175 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0043 | -0,0321 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0031 | -0,022 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0262 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0024 | 0,0173 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0044 | 0,0313 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | 0,003 | 0,0221 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0036 | 0,0257 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | -0,0024 | -0,0175 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | -0,0043 | -0,0321 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0031 | -0,022 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | -0,0036 | -0,0262 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0002 | -0,0011 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0008 | -0,0055 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0004 | 0,003 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0011 | -0,008 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 4,701E-05 | -0,0003 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0002 | -0,0013 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -2,126E-05 | 0,0002 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0001 | -0,0008 |
| N. +1.26 | F3 | 1 | 1 | 4 | 0 | 0,0001 | -0,0009 |
| N. +1.26 | F3 | 1 | 1 | 1 | 0 | 0,0006 | -0,0042 |
| N. +1.26 | F3 | 1 | 1 | 2 | 0 | -0,0003 | 0,0019 |
| N. +1.26 | F3 | 1 | 1 | 3 | 0 | 0,0007 | -0,0052 |

## 5.5 Modal Results

Table 5.6 - Modal Periods And Frequencies

| Case | Mode | Period sec | Frequency cyc/sec | CircFreq rad/sec | Eigenvalue rad2/sec2 |
| --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0,08 | 12,515 | 78,635 | 6183,4611 |
| Modal | 2 | 0,062 | 16,22 | 101,9106 | 10385,7771 |
| Modal | 3 | 0,045 | 22,221 | 139,6165 | 19492,7649 |
| Modal | 4 | 0,003 | 343,484 | 2158,1756 | 4657721,7958 |
| Modal | 5 | 0,003 | 365,562 | 2296,8948 | 5275725,8321 |
| Modal | 6 | 0,003 | 376,559 | 2365,988 | 5597899,0188 |
| Modal | 7 | 0,002 | 446,208 | 2803,607 | 7860212,2618 |
| Modal | 8 | 0,002 | 532,708 | 3347,1024 | 11203094 |

Table 5.7 - Modal Participating Mass Ratios (Part 1 of 2)

| Case | Mode | Period sec | UX | UY | UZ | SumUX | SumUY | SumUZ | RX | RY | RZ | SumRX |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0,08 | 0,5163 | 0,3641 | 0 | 0,5163 | 0,3641 | 0 | 0,0858 | 0,3271 | 0,1146 | 0,0858 |
| Modal | 2 | 0,062 | 0,0096 | 0,3368 | 0 | 0,5259 | 0,7009 | 0 | 0,0793 | 0,3239 | 0,6519 | 0,1651 |
| Modal | 3 | 0,045 | 0,4741 | 0,2991 | 0 | 1 | 1 | 0 | 0,0707 | 0,0007 | 0,2335 | 0,2358 |
| Modal | 4 | 0,003 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0,007 | 0 | 0,2358 |
| Modal | 5 | 0,003 | 1,032E-06 | 0 | 0 | 1 | 1 | 0 | 0 | 0,3413 | 0 | 0,2358 |
| Modal | 6 | 0,003 | 0 | 0 | 0 | 1 | 1 | 0 | 0,0001 | 5,846E-06 | 0 | 0,2359 |
| Modal | 7 | 0,002 | 0 | 0 | 0 | 1 | 1 | 0 | 0,6312 | 0 | 0 | 0,8671 |
| Modal | 8 | 0,002 | 0 | 0 | 0 | 1 | 1 | 0 | 0,1329 | 0 | 0 | 1 |

Table 5.7 - Modal Participating Mass Ratios (Part 2 of 2)

| Case | Mode | SumRY | SumRZ |
| --- | --- | --- | --- |
| Modal | 1 | 0,3271 | 0,1146 |
| Modal | 2 | 0,651 | 0,7665 |
| Modal | 3 | 0,6517 | 1 |
| Modal | 4 | 0,6587 | 1 |
| Modal | 5 | 1 | 1 |
| Modal | 6 | 1 | 1 |
| Modal | 7 | 1 | 1 |
| Modal | 8 | 1 | 1 |

Table 5.8 - Modal Load Participation Ratios

| Case | ItemType | Item | Static % | Dynamic % |
| --- | --- | --- | --- | --- |
| Modal | Acceleration | UX | 100 | 100 |
| Modal | Acceleration | UY | 100 | 100 |
| Modal | Acceleration | UZ | 0 | 0 |

Table 5.9 - Modal Direction Factors

| Case | Mode | Period sec | UX | UY | UZ | RZ |
| --- | --- | --- | --- | --- | --- | --- |
| Modal | 1 | 0,08 | 0,595 | 0,373 | 0 | 0,032 |
| Modal | 2 | 0,062 | 0,369 | 0,34 | 0 | 0,291 |
| Modal | 3 | 0,045 | 0,553 | 0,277 | 0 | 0,171 |
| Modal | 4 | 0,003 | 0,013 | 0 | 0 | 0,987 |
| Modal | 5 | 0,003 | 0,983 | 0 | 0 | 0,017 |
| Modal | 6 | 0,003 | 0,066 | 0,85 | 0 | 0,084 |
| Modal | 7 | 0,002 | 0 | 1 | 0 | 0 |
| Modal | 8 | 0,002 | 0 | 1 | 0 | 0 |